Federal Energy Regulatory Commission

Washington, DC  20426

April 18, 2011

OFFICE OF ENERGY PROJECTS

Project No. 2246-058 – California

Yuba River Hydroelectric Project

Yuba County Water Agency

Subject:  Scoping Document 2 for the Yuba River Hydroelectric Project

To the Party Addressed:

The Federal Energy Regulatory Commission (Commission) is currently reviewing the Pre-Application Document submitted by the Yuba County Water Agency (YCWA) for relicensing the Yuba River Hydroelectric Project (FERC No. 2246).  The Yuba River Project facilities are located on the western slope of the Sierra Nevada in Yuba, Sierra,

and Nevada Counties, California, on the main stems of the Yuba River, the North Yuba River, the Middle Yuba River, and Oregon Creek (a tributary to the Middle Yuba River).  Portions of the Yuba River Project occupy lands of the Plumas and Tahoe National Forests.

Pursuant to the National Environmental Policy Act (NEPA) of 1969, as amended, Commission staff intends to prepare an environmental impact statement (EIS), which will be used by the Commission to determine whether, and under what conditions, to issue a new license for the project.  To support and assist our environmental review, we are beginning the public scoping process to ensure that all pertinent issues are identified and analyzed, and that the EIS is thorough and balanced.

In our January 4, 2011, Scoping Document 1 (SD1), we disclosed our preliminary view of the scope of environmental issues associated with the Yuba River Project.  Based on verbal comments that we received at the scoping meetings that were held on February 2, 2011 in Marysville, California, and written comments we received throughout the scoping process, we prepared the enclosed Scoping Document 2 (SD2).  We appreciate the participation of government agencies, non-government organizations, and the general public in the scoping process.  The enclosed SD2 for the project serves as a guide to the issues and alternatives to be addressed in the EIS.  Key changes from SD1 to SD2 are identified in bold, italicized type.

SD2 is being distributed to both YCWA’s distribution list and the Commission’s official mailing list (see section 9.0 of the attached SD2).  If you wish to be added to or removed from the Commission’s official mailing list, please send your request by email to efiling@ferc.gov or by mail to:  Kimberly D. Bose, Secretary, Federal Energy Regulatory Commission, 888 First Street, N.E., Room 1A, Washington, DC  20426.  All written or emailed requests must specify your wish to be removed from or added to the mailing list and must clearly identify the following on the first page:  Yuba River Hydroelectric Project No. 2246-058.

If you have any questions about SD2, the scoping process, or how Commission staff will develop the EIS for this project, please contact Alan Mitchnick at (202) 502-6074 or alan.mitchnick@ferc.gov.  Additional information about the Commission’s licensing process and the Yuba River Project may be obtained from our website, www.ferc.gov, or YCWA’s licensing website, http://www.ycwa-relicensing.com/default.aspx.

Enclosure:  Scoping Document 2

cc:	Mailing List

Public Files

SCOPING DOCUMENT 2

YUBA RIVER HYDROELECTRIC PROJECT

California

PROJECT NO. 2246-058

Federal Energy Regulatory Commission

Office of Energy Projects

Division of Hydropower Licensing

Washington, DC

April 2011

TABLE OF CONTENTS

1.0  INTRODUCTION	5

2.0  SCOPING	8

2.1   PURPOSES OF SCOPING	8

2.2   SCOPING MEETINGS AND WRITTEN COMMENTS	9

2.3  ISSUES RAISED DURING SCOPING	10

3.0  PROPOSED ACTION AND ALTERNATIVES	18

3.1   NO-ACTION ALTERNATIVE	18

3.1.1   Existing Project Facilities 	18

3.1.2   Existing Project Operations	20

3.2   APPLICANT’S PROPOSAL	21

3.2.1   Proposed Project Facilities and Operations	21

3.2.2   Proposed Environmental Measures	22

3.3   ALTERNATIVES TO THE PROPOSED ACTION	22

3.4   ALTERNATIVES CONSIDERED BUT ELIMINATED FROM DETAILED STUDY	22

3.4.1   Non-power License	22

3.4.2   Project Decommissioning	22

4.0  SCOPE OF CUMULATIVE EFFECTS AND SITE-SPECIFIC RESOURCE ISSUES	24

4.1   CUMULATIVE EFFECTS	24

4.1.1   Resources that could be Cumulatively Affected	24

4.1.2   Geographic Scope	25

4.1.3   Temporal Scope	25

4.2   RESOURCE ISSUES	26

4.2.1   Geologic and Soils Resources	26

4.2.2   Aquatic Resources	26

4.2.3   Terrestrial Resources	28

4.2.4   Threatened and Endangered Species	28

4.2.5   Recreation and Land Use	29

4.2.6   Cultural Resources	29

4.2.7   Aesthetic Resources	29

4.2.8  Socioeconomics	29

4.2.9   Developmental Resources	30

5.0   Proposed Studies	31

6.0  EIS PREPARATION SCHEDULE	33

7.0  PROPOSED EIS OUTLINE	34

8.0 COMPREHENSIVE PLANS	37

0.0 MAILING LIST	40

APPENDIX A—STUDY PLAN CRITERIA

APPENDIX B—PROCESS PLAN AND SCHEDULE

LIST OF FIGURES

Figure 1.  Location of the Yuba River Project (Source:  Yuba River Project PAD, 2010).	7

Figure 2.  Project facilities for the Yuba River Project (Source:  YCWA).	19

LIST OF TABLES

Table 1.  YCWA’s Initial Study Proposals (Source:  PAD).	31

SCOPING DOCUMENT 2

Yuba River Hydroelectric Project, FERC No. 2246-058

# 1.0  INTRODUCTION

The Federal Energy Regulatory Commission (Commission or FERC), under the authority of the Federal Power Act (FPA), may issue licenses for terms ranging from 30 to 50 years for the construction, operation, and maintenance of non-federal hydroelectric projects.  On November 5, 2010, Yuba County Water Agency (YCWA) filed a Pre-Application Document (PAD) and Notice of Intent to seek a new license for Yuba River Hydroelectric Project (FERC Project No. 2246).

The Yuba River Project facilities are located on the western slope of the Sierra Nevada, on the main stems of the Yuba River, the North Yuba River, the Middle Yuba River, and Oregon Creek (a tributary to the Middle Yuba River) in Yuba, Sierra, and Nevada Counties, California (figure 1).  Portions of the Yuba River Project occupy lands of the Plumas and Tahoe National Forests.  The project passes flow through Englebright dam, operated by the Corps of Engineers.

The Yuba River Project has an authorized installed capacity of 361.9 megawatts (MW).  The average annual generation of the Yuba River Project is 1,267,061 megawatt-hours (MWh) (2004-2008).  A detailed description of the project is provided in section 3.0.

The National Environmental Policy Act (NEPA) of 1969, the Commission’s regulations, and other applicable laws require that we independently evaluate the environmental effects of relicensing the Yuba River Project as proposed, and also consider reasonable alternatives to the licensee’s proposed action.  At this time, we intend to prepare an environmental impact statement (EIS) that describes and evaluates the probable effects, including an assessment of the site-specific and cumulative effects, if

any, of the proposed action and alternatives.  The EIS preparation will be supported by a scoping process to ensure identification and analysis of all pertinent issues.

Figure 1.  Location of the Yuba River Project (Source:  Yuba River Project PAD, 2010).

- 2.0  SCOPING

This Scoping Document 2 (SD2) is intended to advise all participants as to the proposed scope of the EIS and to seek additional information pertinent to this analysis.  This document contains:  (1) a description of the scoping process and schedule for the development of the EIS; (2) a description of the proposed action and alternatives; (3) a preliminary identification of environmental issues and proposed studies; (4) a request for comments and information; (5) a proposed EIS outline; and (6) a preliminary list of comprehensive plans that are applicable to the project.

- 2.1   PURPOSES OF SCOPING

Scoping is the process used to identify issues, concerns, and opportunities for enhancement or mitigation associated with a proposed action.  According to NEPA, the process should be conducted early in the planning stage of the project.  The purposes of the scoping process are as follows:

- invite participation of federal, state and local resource agencies, Indian tribes, non-governmental organizations (NGOs), and the public to identify significant environmental and socioeconomic issues related to the proposed project;

- determine the resource issues, depth of analysis, and significance of issues to be addressed in the EIS;

- identify how the project would or would not contribute to cumulative effects in the project area;

- identify reasonable alternatives to the proposed action that should be evaluated in the EIS;

- solicit, from participants, available information on the resources at issue, including existing information and study needs; and

- determine the resource areas and potential issues that do not require detailed analysis during review of the project.

- 2.2   SCOPING MEETINGS AND WRITTEN COMMENTS

We conducted two scoping meetings (afternoon and evening) on March 2, 2011 in Marysville, California.  The scoping meetings were announced in local newspapers and in the Federal Register.  The afternoon meeting was attended by about 30 agency and non-governmental organization (NGO) representatives.  The evening meeting was attended by about 11 agency, tribal, and NGO representatives and about 20 members of the public.  A court reporter recorded comments made during the scoping meetings.  In addition, an environmental site review was conducted on February 1, 2011.

Besides the oral comments received at the scoping meetings, the following entities filed written comments on Scoping Document 1 (SD1):

| Commenting Agency | Filing Date |
| --- | --- |
| United Auburn Indian Community of the Auburn Rancheria | February 1, 2011 |
| Gold Coast Fly Fishers | February 18, 2011 |
| Cordua Irrigation District | February 23, 2011 |
| California Department of Fish and Game (Cal Fish and Game) | March 3, 2011 |
| Tom J., Janet M., Myles, and Peyton Scott | March 3, 2011 |
| Elizabeth and Christopher Burton | March 4, 2011 |
| National Park Service | March 4, 2011 |
| Forest Service | March 4, 2011 |
| California Water Resources Board | March 7, 2011 |
| U.S. Fish and Wildlife Service (FWS) | March 7, 2011 |
| Foothills Water Network | March 7, 2011 |
| Yuba County Water Agency | March 7, 2011 |
| National Marine Fisheries Service (NMFS) | March 7, 2011 |
| Yuba County Fish and Game Commission | March 7, 2011 |
| Camptonville Community Service District | March 7, 2011 |
| Terrence and Anita Hansen | March 7, 2011 |
| Paul and Lottie Dixon | March 7, 2011 |
| Randy and Cathy Bodhaine | March 7, 2011 |
| Paul and Maggie Phillipson | March 7, 2011 |
| Emerald Cove Marina | March 7, 2011 |
| Carl and Heidi Kurashewich | March 8, 2011 |
| Ronald C. Fye | March 8, 2011 |
| Gary Watts | March 8, 2011 |
| Tom & Sue Gardner | March 8, 2011 |
| Lyman and Faye Gandy | March 9, 2011 |
| Ray Byers and Family | March 9, 2011 |
| Dalton and Kathye Collier | March 9, 2011 |
| Keith A. Torgerson | March 9, 2011 |
| Feather River Trout Unlimited | March 10, 2011 |
| Dave Billings | March 11, 2011 |
| Dick and Karen Hatfield | March 21, 2011 |

All comments received are part of the Commission’s official record for the project.  Information in the official file is available for inspection and reproduction at the Commission's Public Reference Room, located at 888 First Street, N.E., Room 2A, Washington, DC 20426, or by calling (202) 502-8371.  Information also may be accessed through the Commission’s eLibrary system using the “Documents & Filings” link on the Commission’s web page at http://www.ferc.gov.  Call (202) 502-6652 for assistance.

2.3  ISSUES RAISED DURING SCOPING

During the meetings and the following comment period, we received comments on YCWA’s PAD and the Commission’s SD1.  In addition, participants filed study requests.  SD1 was revised to address only comments relating directly to the scope of environmental issues; comments on the applicant’s PAD and study requests are not discussed here but will be considered during study plan development and the ensuing study plan meetings.  This document, SD2, presents our current view of issues and alternatives to be considered in the EIS, and reflects comments suggested during scoping, excluding those indicated below.

The general concerns raised by participants during scoping are summarized below by topic.  Both oral and written comments are addressed in the summary.  The summary, however, does not include every oral and written comment made during the scoping process.  For instance, we do not address comments that are recommendations for schedule changes, statements of opinion regarding operation of the proposed projects, or minor editorial corrections.  We also have not included comments that are recommendations for license conditions, as these recommendations would be addressed in the EIS.

Information in the Record

Comment:  NMFS recommends that the Commission direct the applicant to place all information referenced and cited in the PAD into the record for this proceeding.

Response:  This recommendation would be an unreasonable burden on an applicant.  We encourage that only important, relevant resource management plans, such as species recovery plans, be placed in the record for the affected project.

Project Decommissioning Alternative

Comment:  Both NMFS and FWS recommend that the EIS include the alternative of license decommissioning or denial of a new license though neither agency has recommended project retirement.  The Foothills Water Network recommends an ESA no-project alternative be considered.

Response:   Decommissioning could include retiring the project without or without removal of project facilities.  In addressing whether a thorough discussion of decommissioning is warranted in an EIS, Commission staff evaluates different factors relating to the adverse and beneficial effects on a variety of resources and issues (see Interagency Task Force Report on NEPA, 2001).

Most significantly, staff evaluates whether stakeholders have recommended decommissioning and outlined the expected benefits that might be derived.  No participant, including NMFS or FWS has recommended that the project be retired or provided any environmental rational for retiring and/or removing the project.  Further, no party has expressed interest in assuming regulatory control and supervision of the project facilities.  We provide additional justification for not evaluating a decommissioning alternative in section 3.4.2.

Baseline conditions can be defined differently under the ESA as compared to NEPA.  During informal consultation, Commission staff will work with NMFS on the appropriate design and content of a biological assessment.

Other Alternatives

Comment:  NMFS recommends that staff evaluate the following alternatives:

- Actions taken under the “Habitat Expansion Agreement for Central Valley Spring-Run Chinook Salmon and California Central Valley Steelhead (HEA)” to mitigate for any presently unmitigated impacts due to the blockage of fish passage caused by FERC-licensed hydroelectric projects in the Feather River

- Collaborative efforts, such as those underway in the “Yuba Salmon Forum” that have discussed the potential reintroduction of anadromous fishes to the upper Yuba

- Potential future actions taken in the licensing of the Yuba-Bear and the Drum-Spaulding Hydroelectric Projects, which both affect the conditions in existing and potential Yuba River anadromous habitats

Response:  The issues raised by NMFS are not distinct alternatives, but rather potential changes in future conditions.  These issues will be evaluated as part of the cumulative effects analysis, as appropriate.

Comment:  The Foothills Water Network also recommends the following alternatives:

- Comprehensive watershed planning alternative (coordinated operation of Yuba River, Yuba-Bear, and Drum-Spaulding Projects)

- Future water demand alternative

- Anadromous fish reintroduction alternative (fishway passage for Englebright afterbay, Yuba-Bear/Drum-Spaulding Instream Flows, reintroduction)

- Yuba-Bear/Drum-Spaulding returned water alternative

FWS also recommends inclusion of fish passage alternatives, including a combination of passage scenarios at all dams and passage scenarios at a subset of dams.

Response:  Although we do not include these recommendations as distinct alternatives, the effects of these actions will be disclosed in the applicable resource sections of the EIS, as appropriate.

Englebright Dam

Comment:  Foothills Water Network recommends that:

- The license should include all Yuba County Water Agency’s rights and interests

- Englebright dam, reservoir and afterbay should be listed as a project work

- Englebright dam and reservoir should be within project boundary

Feather River Chapter of Trout Unlimited also recommends that project include Englebright dam and reservoir.

Response:  It is premature to address these issues at this time.  Any issues regarding the project boundary and the facilities to be included in a new license are addressed in a Commission order.  In any event, issues associated with Englebright dam and reservoir as they relate to the Yuba River Project can be addressed as part of the relicensing regardless of whether they are project facilities or included in the project boundary.

Cumulative Analysis

Comment:  Cal Fish and Game recommends that the following cumulative resources be evaluated in the EIS:  aquatic resources; geologic and soil resources; and riparian habitat.  Cal Fish and Game recommends that the geographic scope include the following:  upstream on the North Yuba River above New Bullards Bar reservoir to the confluence of Slate Creek; on the Middle Yuba River upstream of the high water line of Our House diversion Pool;, on Oregon Creek upstream of the influence of deliveries from the Lohman Ridge tunnel;, and downstream on the mainstem of Yuba River to the confluence of the Yuba River with the Feather River.

FWS recommends that the geographic scope include the entire area where effects can be detected, estimated or measured and notes that water temperature changes can be detected on the Feather River.

YCWA recommends the following cumulative resources and scope:

- Channel morphology—Englebright dam to Marysville gage

- Water quantity—Old House diversion dam to Marysville gage

- Water quality—Old House diversion dam to Marysville gage

- Aquatic resources—Englebright dam to Marysville gage

- Riparian vegetation—Englebright dam to Marysville gage

- Anadromous fishes—Englebright dam to Marysville gage

Response:  We revised the scoping document to include riparian vegetation and geologic and soil resources as cumulative resources.  We conclude that the scope recommended by Cal Fish and Game is generally appropriate and modify this scoping document accordingly.

Comment:  For anadromous fish and Essential Fish Habitat (EFH), NMFS recommends the following scope:

- Upstream--the potential action area for the project extend throughout the upper Yuba watershed, including the North, Middle, and South Yuba watersheds.

- Downstream--the potential action area for the project extend through the lower Yuba River watershed to the confluence of the Feather River, the lower Feather River, the lower Sacramento River, and through the Sacramento-San Joaquin Delta to the San Francisco Bay.

The Foothills Water Network recommends that reintroduction of Chinook salmon in the Upper Yuba River Basin be included with the following scope:

- On the North Yuba upstream of New Bullards Bar at River Mile 50.8 (Loves Falls)

- On the Middle Yuba River to the natural barrier at RM 34.5

- Downstream of the project extending to the San Francisco Bay Delta

Response:  We revised the scoping document to include anadromous fish and EFH as cumulatively affected resources.  The scope recommended by the NMFS for anadromous fish and EFH is generally appropriate, as discussed below.

Anadromous fish currently are absent from the Yuba River Basin upstream of Englebright dam and would not be affected by the project.  However, actions occurring upstream of Englebright dam have the potential to affect anadromous fish and their habitat downstream of Englebright dam, in combination with the potential effects of the proposed project.  Therefore, we include the upper Yuba River Basin within the geographic scope to the extent necessary to understand the potential interaction of upstream actions and the project on anadromous fish populations and habitat downstream of Englebright dam.

The project also has the potential to effect anadromous fish habitat and populations downstream of Englebright dam.  Upstream and downstream actions throughout the Yuba River Basin and downstream to San Francisco Bay can affect the number of returning adults to Englebright dam and the condition of those individuals, in combination with project-specific effects.  We include the recommended geographic scope to the extent necessary to understand effects to the existing fish runs and how the project would contribute to those effects.

Even though the potential project-specific effects on EFH are restricted to the habitat directly and indirectly effected by the project-- both upstream and downstream of Englebright dam--other actions upstream and downstream of Englebright dam have the potential to affect the quality of EFH throughout the geographic scope.  Understanding the effects of those potential actions would allow us to place project-specific effects on EFH in their proper perspective.

The expanded scope does not imply that project-related effects extend significantly beyond the Yuba River basin but rather that actions occurring in the Upper Yuba River Basin and downstream to the San Francisco Bay affect the same anadromous fish population and EFH that may be cumulatively affected by the project. We would anticipate that the level of analysis to be broad and may be based largely on existing information.  We also note that the geographic scope of the cumulative analysis is not the same as the geographic scope of needed studies.  Study scope would be determined individually for each study.  We request that stakeholders assist the Commission staff in identifying reasonably foreseeable actions within the geographic scope.

Based on the above discussion, we modify this scoping document to include the geographic scope for the cumulative analysis as recommended by NMFS.

Comment:  Cal Fish and Game and the Yuba County Fish and Game Commission recommend that mule deer be evaluated as a cumulative resource.

Response:  We have modified the scoping document accordingly.

Comment:  The California State Water Control Board recommends that staff remain open to including additional resources through the study plan determination process.

Response:  In reviewing the study results and preparing the EIS for the Yuba River Project, staff will also examine each of the resources being considered for cumulative effects analysis and determine if there is new or pertinent information available.  Where new and relevant information concerning cumulatively affected resources have been developed, staff will modify the scope as appropriate.

Recreation at New Bullards Bar Reservoir

Comment:  Many members of the public provided comments supporting the current level of boating use at New Bullards Bar reservoir.  Others recommended allowing more and larger houseboats at the reservoir or additional facilities.

Response:  Recreational impacts associated with use of New Bullards Bar reservoir will be addressed as part of our environmental review of the project.

Additional Resource Issues

Comment:  Cal Fish and Game recommends the Commission consider the following additional issues:

- Effects of project operation and maintenance on habitat for aquatic resources, including fish, amphibians, and benthic macroinvertebrates.

- Effects of the project on channel conditions, changes in channel morphology and sediment regimes, specifically as it relates to fish spawning gravel.

- Effects of project facilities and operation on native trout fry emergence timing and spawning success in various water year types.

- Effects of project facilities and operation on genetic diversity in above-barrier populations.

Response:  We have modified the scoping document accordingly to include these resource issues.

Comment:  NMFS recommends that the Southern distinct population segment of the North American green sturgeon and its critical habitat and Chinook salmon and steelhead critical habitat be evaluated.

Response:  We have modified the scoping document accordingly to include these resources.

Comment:  The Camptonville Community Service District recommends that the EIS evaluate the effects of visitors increased fire hazards, medical emergencies, hazardous materials incidents, increased traffic and trash.

Response:  We will consider the effects of the project on public services in the Socioeconomics section of the EIS and have modified the scoping document.

Comment:  The Cordua Irrigation District recommends that the EIS evaluate the effects of the water temperature of project releases on rice production and waterfowl food supply.

Response:  Changes in project operation that may result from relicensing could potentially affect water temperature and have associated effects on resources other that fish and aquatic organisms.  We have modified the scoping document to address this issue.

# 3.0  PROPOSED ACTION AND ALTERNATIVES

In accordance with NEPA, the environmental analysis will consider the following alternatives, at a minimum:  (1) the no-action alternative, (2) the applicant's proposed action, and (3) alternatives to the proposed action.

- 3.1   NO-ACTION ALTERNATIVE

Under the no-action alternative, the Yuba River Project would continue to operate as required by the current project license (i.e., there would be no change to the existing environment).  No new environmental protection, mitigation, or enhancement measures would be implemented.  We use this alternative to establish baseline environmental conditions for comparison with other alternatives.

- 3.1.1   Existing Project Facilities (figure 2)

New Colgate Development

The New Colgate development consists of the following existing facilities:  (1) the 70-foot-high, 368-foot-long Our House diversion dam with a storage capacity of 280 acre-feet, located on the Middle Yuba River 12.0 miles upstream of its confluence with the North Yuba River; (2) the 12.5-foot-high by 12.5-foot-wide, 19,410-foot-long Lohman Ridge diversion tunnel that conveys a maximum flow of 860 cubic feet per second (cfs) from the Middle Yuba River to Oregon Creek; (3) the Log Cabin diversion dam, a 105-foot-radius, concrete arch dam on Oregon Creek that has a drainage area of 29.1 square miles and a maximum spillway capacity of 12,000 cfs and a storage capacity of 90 acre-feet; (4) the 6,107-foot-long Camptonville diversion tunnel, with the capacity to convey 1,100 cfs of water to New Bullards Bar reservoir on the North Yuba River; (5) the 645-foot-high New Bullards Bar dam located on the North Yuba River about 2.3 miles upstream of its confluence with the Middle Yuba River, with an actual release capacity of 1,250 cfs; (6) the New Bullards Bar reservoir, a storage reservoir on the North Yuba River formed by New Bullards Bar dam, with a surface area of  4,790 acres; (7) the New Bullards Bar dam overflow-type spillway with a width of 106 feet and a crest elevation of 1,902 feet; (8) the 5.2-mile-long New Colgate Power tunnel and penstock, with a maximum flow capacity of 3,500 cfs; (9) the New Colgate Powerhouse, an aboveground, steel-reinforced, concrete powerhouse located adjacent to the Yuba River containing two Pelton type turbines with a total actual measured capacity of 340 MW; (10) the New Colgate switchyard, located adjacent to the New Colgate powerhouse; (11) recreation facilities on New Bullards Bar reservoir, including Emerald Cove Marina,

Figure 2.  Project facilities for the Yuba River Project (Source:  YCWA).

Hornswoggle Group Camp, Schoolhouse Family Camp, Dark Day Campground, Dark Day Boat Ramp, Garden Point Campground, Madrone Cove Campground, and Cottage Creek Boat Ramp; and (12) appurtenant facilities and features include access roads.

New Bullards Bar Minimum Flow Development

The New Bullards Bar Minimum Flow Development consists of the following existing facilities:  (1) the 70-foot long, 12-inch-diameter New Bullards minimum flow powerhouse penstock with a maximum flow capacity of 6 cfs; (2) the New Bullards minimum flow powerhouse, containing a single Pelton turbine with a capacity of 150 kilowatts (kW) at a flow of 5 cfs; (3) the New Bullards minimum flow transformer, located adjacent to the New Bullards minimum flow powerhouse; and (4) appurtenant facilities and features, including access roads.

Narrows 2 Development

- The Narrows 2 Development consists of the following existing facilities:  (1) the Narrows 2 powerhouse penstock, a tunnel that is 20 feet in diameter and concrete lined in the upper 376 feet, and 14 feet in diameter and steel lined for the final 371.5 feet, with a maximum flow capacity of 3,400 cfs; (2) the Narrows 2 flow bypass, a valve and penstock branch off the main Narrows 2 penstock that provides the capability to bypass flows of up to 3,000 cfs around the Narrows 2 powerhouse during times of full or partial powerhouse shutdowns; (3) the Narrows 2 powerhouse, an indoor powerhouse located at the base of the Corps of Engineer’s Englebright dam, consisting of one vertical axis Francis turbine with a capacity of 55 MW at a head of 236 feet and flow of 3,400 cfs; (4) the Narrows 2 powerhouse switchyard, located adjacent to the powerhouse; and (5) appurtenant facilities and features, including access roads.

- 3.1.2   Existing Project Operations

Besides generating power, YCWA operates the project to supply water, control floods, provide recreational opportunities, and enhance fish and wildlife habitat.  Our House and Log Cabin diversion dam impoundments do not store water and YCWA uses them to divert water to New Bullards Bar reservoir during spring high flows.  As the project’s only storage reservoir, New Bullards Bar reservoir captures winter and spring runoff from rain and snowmelt.  Normally, the reservoir reaches its peak storage at the end of the spring runoff season, and then is gradually drawn until its lowest elevation is reached in mid-winter.  Though the reservoir elevation varies seasonally, the reservoir elevation does not undergo substantial daily changes.  To control floods, YCWA must reserve pool space in New Bullards Bar reservoir from October through April that, depending on runoff, can limit storage.  For power, YCWA operates New Colgate powerhouse for peaking and ancillary services and both the New Bullards minimum flow and Narrows 2 powerhouses as base load facilities.

The average total inflows to New Bullards Bar reservoir from the North Yuba River and diversions from the Middle Yuba River and Oregon Creek are about 1,200,000 acre-feet per year, and have ranged from a low of 163,000 acre-feet in 1977 to a high of 2,800,000 acre-feet in 1982.  To estimate yearly water availability, YCWA begins by using California Department of Water Resources Bulletin 120 forecasts in January each year and continually updates the estimate throughout the spring runoff period.  Estimates of available water supply are compared to estimates of required releases, consumptive demands, and target levels for fall storage to provide a level of drought protection for the following year.

Since 2006, YCWA has operated the project to conform to a unique set of agreements:  the Lower Yuba River Accord (Yuba Accord).  The Yuba Accord is a comprehensive, consensus-based program to protect and enhance aquatic habitat in the Yuba River downstream of the United States Army Corps of Engineers’ Englebright dam. The Yuba Accord flow schedules were developed to improve aquatic habitat during high flow years and use a "balancing of resources” approach to provide habitat for drier conditions.

- 3.2   APPLICANT’S PROPOSAL

The proposed action is to continue to operate and maintain the Yuba River Project, and implement certain environmental protection, mitigation, and enhancement measures.  YCWA proposes no new developments or changes in project operation at this point in the licensing process.  The current license for the project expires on April 30, 2016.

- 3.2.1   Proposed Project Facilities and Operations

No new or upgraded facilities, structural changes, or operational changes to the Yuba River Project during the term of the new license are proposed at this time.

- 3.2.2   Proposed Environmental Measures

YCWA identified measures to protect and enhance environmental resources of the project area.  YCWA proposes to continue operating the Yuba River Project with the environmental protection, mitigation, and enhancement measures described below.

YCWA proposes to continue to release minimum flows consistent with the Lower Yuba River Accord.

- 3.3   ALTERNATIVES TO THE PROPOSED ACTION

Commission staff will consider and assess all alternative recommendations for operational or facility modifications, as well as protection, mitigation, and enhancement (PM&E) measures identified by the Commission, the agencies, Indian tribes, NGOs, and the public.

- 3.4   ALTERNATIVES CONSIDERED BUT ELIMINATED FROM DETAILED STUDY

At present, we propose to eliminate the following alternatives from detailed analysis in the EIS.

- 3.4.1   Non-power License

A non-power license is a temporary license the Commission would terminate whenever it determines that another governmental agency is authorized and willing to assume regulatory authority and supervision over the lands and facilities covered by the non-power license.  At this time, no governmental agency has suggested a willingness or ability to take over the project.  No party has sought a non-power license, and we have no basis for concluding that the Yuba River Project should no longer be used to produce power.  Thus, we do not consider a non-power license a reasonable alternative to relicensing the project.

- 3.4.2   Project Decommissioning

Decommissioning of the project could be accomplished with or without dam removal.  Either alternative would require denying the relicense application and surrender or termination of the existing license with appropriate conditions.  No party has suggested project decommissioning would be appropriate in this case.

The project provides a viable, safe, and clean renewable source of power to the region.  Under a decommissioning alternative, the project would no longer be authorized to generate power--the project generates an average of about 1,267 gigawatthours annually (2004-2008 data).  The project also provides other important benefits.  New Bullards Bar reservoir provides important recreational benefits and project facilities provide flood control and water delivery benefits.

Further, there would be significant costs involved with retiring the project and/or removing any of the project’s facilities.   If the project facilities were removed as part of the decommissioning alternative, significant impacts would result as well.

Retirement would also foreclose any opportunity to add environmental enhancements to the existing project.  Further, in this case, environmental objectives in large part can likely be met without decommissioning the project.

NMFS notes that several events could occur in the foreseeable future that might resurrect the issue of decommissioning or the removal of project facilities.  Staff will evaluate this information as it becomes available and may modify the range of alternatives throughout the licensing process.

Therefore, based on the information provided thus far, we conclude that decommissioning is not a reasonable alternative that needs to be evaluated throughout the NEPA process.  Excluding the project retirement alternative in the EIS does not prejudge the Commission’s decision on whether to issue a license for the project or preclude the Commission from denying a license for the project.  Staff will reevaluate the merits of a decommissioning alternative, as appropriate, as new information is developed throughout the licensing process.

- 4.0  SCOPE OF CUMULATIVE EFFECTS AND

- SITE-SPECIFIC RESOURCE ISSUES

- 4.1   CUMULATIVE EFFECTS

According to the Council on Environmental Quality's regulations for implementing NEPA (50 C.F.R. 1508.7), a cumulative effect is the effect on the environment that results from the incremental effect of the action when added to other past, present and reasonably foreseeable future actions, regardless of what agency (federal or non-federal) or person undertakes such other actions.  Cumulative effects can result from individually minor but collectively significant actions taking place over a period of time, including hydropower, diversions for irrigation and drinking water supply, past mining activities, and other land and water development activities, including agriculture, timber, grazing, recreation, and residential.

There are approximately 46 major dams and reservoirs in the Yuba River Basin, with a combined storage capacity of about 1,350,000 acre-feet.  Thirty-eight of these dams are located upstream of the project (Pre-Application Document, pages 3-14- 3-15).  Other major FERC projects in the basin include PG&E’s Drum-Spaulding Project No. 2310 (expiring April 30, 2013) and Narrows Project No. 1403 (expiring January 31, 2023); Nevada Irrigation District’s Yuba-Bear Project No. 2266 (expiring April 30, 2013); South Feather Water and Power Agency’s State Creek Development, Project No. 2088 (expired March 31, 2009); and YCWA’s Deadwood Creek Project No. 6780 (expiring August 31, 2038).  The Corps of Engineers operates Englebright and Daguerre Point dams.

- 4.1.1   Resources that could be Cumulatively Affected

Based upon scoping meetings and the comments we received on SD1, on information in the Pre-Application Document, and preliminary staff analysis, we anticipate water resources and aquatic resources, including anadromous fish, EFH, geologic and soil resources, riparian vegetation, and mule deer as resources with the potential to be cumulatively affected by the continued operation and maintenance of the Yuba River Project.

- 4.1.2   Geographic Scope

Our geographic scope of analysis for cumulatively affected resources is defined by the physical limits or boundaries of:  (1) the proposed action's effect on the resources, and (2) contributing effects from other hydropower and non-hydropower activities within the Yuba River Basin.  Because the proposed action would affect the resources differently, the geographic scope for each resource may vary.

For water and aquatic resources (with the exception of anadromous fish),  riparian vegetation, and geologic and soil resources, we define the geographic scope as extending upstream on the North Yuba River above New Bullards Bar reservoir to the confluence of Slate Creek, on the Middle Yuba River upstream of the high water line of Our House diversion pool, on Oregon Creek upstream of the influence of deliveries from the Lohman Ridge tunnel and downstream on the main stem Yuba River to the mixing zone of the Yuba River and the Feather River.

- At this time, we have tentatively determined a cumulative geographic scope for anadromous fish and EFH that includes the Yuba River Basin downstream to the confluence with the Feather River, the lower Feather River, to the lower Sacramento River, and through the Sacramento-San Joaquin Delta to the San Francisco Bay.

For mule deer, the scope for the cumulative analysis is the range of the migratory Downieville/Nevada City and Bucks Mountain/Mooretown deer herds.

- 4.1.3   Temporal Scope

The temporal scope of our cumulative effects analysis in the EIS will include a discussion of past, present, and reasonably foreseeable future actions and their effects on each resource that could be cumulatively affected.  Based on the potential term of a new license, the temporal scope will look 30 to 50 years into the future, concentrating on the effect on the resources from reasonably foreseeable future actions.  The historical discussion will, by necessity, be limited to the amount of available information for each resource.  The quality and quantity of information, however, diminishes as we analyze resources further away in time from the present.

- 4.2   RESOURCE ISSUES

In this section, we present a preliminary list of environmental issues to be addressed in the EIS.  We identified these issues, which are listed by resource area, by reviewing the PAD and the Commission’s record for the Yuba River Project, along with verbal and written comments provided during scoping.  This list is not intended to be exhaustive or final, but contains those issues raised to date that could have substantial effects.

- 4.2.1   Geologic and Soils Resources

- Effects of project operation and maintenance on soil erosion, slope failures, and shoreline erosion at project reservoirs and stream reaches

- Effects of any project-related changes in streamflow and sediment delivery to project stream reaches on stream geomorphic processes and reservoir bathymetry

- Potential effects of runoff from project roads and other hard surface runoff on erosion and sediment transport

- Potential effects of the use of project spillways and dam outlet facilities on soil erosion

- Effect of project operations on large woody debris distribution and recruitment

- Effects of project-related recreation on soil compaction or erosion

- 4.2.2   Aquatic Resources

- Effects of project operation on the quantity and timing of streamflow in project-affected reaches, including water storage, spillage, peaking operations, and ramping rates

- Potential effects of project operation and maintenance on water quality, water temperature, and water quantity in project reservoirs and project-affected stream reaches and its effect on water supply demands, and other resources

- Effects of project operation on amphibian and aquatic reptile habitat in project reservoirs

- Effects of project operation on foothill yellow-legged frog populations and distribution, including changes in channel morphology and sediment regimes, flow patterns and fluctuations, and water temperature

- Effects of project operation on western pond turtle populations and distribution, including changes in channel morphology and sediment regimes, water temperature, upland habitat conditions, water flow patterns, and riparian vegetation

- Effects of project operation and maintenance on fish populations in project reservoirs and project-affected stream reaches, including special status species

- Effects of project operation, including releases from project facilities on aquatic habitat, including benthic macroinvertebrate populations, special-status amphibian populations, special-status mollusk populations, aquatic reptiles, and fish, including native trout fry emergence timing and spawning success in various water year types in receiving streams

- Effects of retention of sediment in project reservoirs and project flows on channel morphology and sediment regimes on downstream fish spawning habitat, special-status fish populations, and benthic macroinvertebrate populations

- Potential effects of project-related changes in the recruitment and movement of large woody debris on aquatic resources and their habitat

- Potential effects of impediments (passage barrier and flows) to fish passage and migrations, for spawning and thermal refugia, and out migration, including special status fish species

- Potential effects of project operations on stranding or displacement of fish

- Effects of entrainment at project diversions and intakes on fish populations

- Effects of the project on non-native species, including hatchery stocked populations of trout, and their effect on native species such as wild trout

- Effects of the project on essential fish habitat

- 4.2.3   Terrestrial Resources

- Effects of project operation, maintenance activities, and recreational use on special status and state-listed wildlife species, including northern goshawk, osprey, golden eagle, California spotted owl, California black rail, and bat species

- Effects of project operation, maintenance activities, and recreational use on bald eagle nesting, roosting, perching, and foraging and consistency of the project with National Bald Eagle Protection Guidelines

- Effects of project facilities on migratory deer winter habitat and migratory corridors

- Effects of project operation, maintenance activities, and recreational use on special status and state-listed plant species

- Effects of project operation, maintenance activities, and recreational use on the presence and spread of noxious weeds

- Effects of project operation and maintenance on wetlands, meadows, and riparian habitat

- 4.2.4   Threatened and Endangered Species

- Effects of project-related maintenance activities on elderberry plants and associated effects on the valley elderberry longhorn beetle

- Effects of project operation on California red-legged frog habitat and populations (and effects from warmwater fish) within a 1-mile area around project developments and project-affected reaches

- Effects of project operation and maintenance on listed plant species (Stebbins’ morning glory, Pine Hill flannelbush, Layne’s ragwort, Hartweg’s golden sunburst) and invertebrates (vernal pool fairy shrimp and vernal pool tadpole shrimp)

- Effect of project operations on spring-run Chinook salmon, steelhead, and green sturgeon and their designated critical habitats

- 4.2.5   Recreation and Land Use

- Effects of project facilities and operations on public access to project waters, existing recreational opportunities, and future recreational opportunities within the project area

- Effects of water levels in project reservoirs on recreation (angling, boating)

- Effects of project operations on quality and availability of flow-dependent recreation opportunities, including whitewater boating, angling, and swimming

- Adequacy of existing recreation facilities (including accessible facilities) to meet current and future recreational demand

- Effects of the project operations and maintenance on the condition and use of roads within the project area

- Effects of project operations on wildfire risk and fire management

- 4.2.6   Cultural Resources

- Effects of the project on historic, archeological, and traditional cultural resources that may be eligible for inclusion in the National Register of Historic Places

- 4.2.7   Aesthetic Resources

- Effects of project operations, maintenance activities, and project recreation use on aesthetic resources, including reservoirs and downstream reaches, within the project area

- 4.2.8  Socioeconomics

- Effect of the project on local public services

### 4.2.9   Developmental Resources

- Economics of the project and alternatives, and the effects of any recommended environmental measures on the project’s economics

- 5.0   Proposed Studies

Depending upon the findings of studies completed by YCWA and the recommendations of the consulted entities, YCWA will consider, and may propose certain other measures to enhance environmental resources affected by the project as part of the proposed action.  YCWA’s initial study proposals are identified by resource area in table 1.  Detailed information on YCWA’s initial study proposals can be found in the PAD, as modified by YCWA’s February 11, 2011 filing.  Further studies may need to be added to this list based on comments provided to the Commission and YCWA from interested participants, including Indian tribes.

Table 1.  YCWA’s Initial Study Proposals (Source:  PAD).

| Study Number | Study Name |
| --- | --- |
| GEOLOGY AND SOILS |  |
| 1.1 | Channel Morphology Upstream of Englebright Reservoir |
| 1.2 | Channel Morphology Downstream of Englebright Dam |
| WATER RESOURCES |  |
| 2.1 | Hydrologic Alteration |
| 2.2 | Water Balance/Operations Model |
| 2.3 | Water Quality |
| 2.4 | Bioaccumulation |
| 2.5 | Water Temperature Monitoring |
| 2.6 | Water Temperature Model |
| AQUATIC RESOURCES |  |
| 3.1 | Aquatic Macroinvertebrates Upstream of Englebright Reservoir |
| 3.2 | Aquatic Macroinvertebrates Downstream of Englebright Dam |
| 3.3 | Special-Status Aquatic Mollusks |
| 3.4 | Special-Status Amphibians – Foothill Yellow-Legged Frog Surveys |
| 3.5 | Special-Status Amphibians – Foothill Yellow-Legged Frog Habitat Modeling |
| 3.6 | Special-Status Turtles – Western Pond Turtle |
| 3.7 | Reservoir Fish Populations |
| 3.8 | Stream Fish Populations Upstream of Englebright Reservoir |
| 3.9 | Stream Fish Populations Downstream of Englebright Dam |
| 3.10 | Fish Instream Flow Upstream of Englebright Reservoir |
| 3.11 | Fish Entrainment |
| WILDLIFE RESOURCES |  |
| 4.1 | Special-Status Wildlife – California Wildlife Habitat Relationships |
| 4.2 | Special-Status Wildlife – Bats |
| BOTANICAL RESOURCES |  |
| 5.1 | Special-Status Plants |
| WETLAND, RIPARIAN AND LITTORAL HABITATS |  |
| 6.1 | Riparian Habitat Upstream of Englebright Reservoir |
| 6.2 | Riparian Habitat Downstream of Englebright Dam |
| 6.3 | Wetlands |
| THREATENED, ENDANGERED, AND FULLY PROTECTED SPECIES |  |
| 7.1 | Endangered Species Act (ESA) ESA-Listed Plants |
| 7.2 | Narrows 2 Powerhouse Intake |
| 7.3 | ESA-Listed Amphibians – California Red-Legged Frog |
| 7.4 | ESA-Listed Wildlife – Valley Elderberry Longhorn Beetle |
| 7.5 | California ESA(CESA)-Listed Plants |
| 7.6 | CESA-Listed and Fully Protected Wildlife – California Wildlife Habitat Relationships |
| 7.7 | CESA-Listed and Fully Protected Wildlife – Bald Eagle |
| 7.8 | ESA/CESA-Listed Salmonids Downstream of Englebright Dam |
| 7.9 | North American Green Sturgeon Downstream of Englebright Dam |
| 7.10 | Instream Flow for Steelhead and Chinook Salmon Downstream of Englebright Dam |
| RECREATIONAL RESOURCES |  |
| 8.1 | Recreation Use and Visitor Surveys |
| 8.2 | Recreational Flow |
| LAND USE |  |
| 9.1 | Primary Project Roads and Trails |
| AESTHETIC RESOURCES |  |
| 10.1 | Visual Quality |
| CULTURAL RESOURCES |  |
| 12.1 | Historic Properties |
| TRIBAL RESOURCES |  |
| 13.1 | Native American Traditional Cultural Properties |

- 6.0  EIS PREPARATION SCHEDULE

At this time, we anticipate the need to prepare a draft and final EIS.  The draft EIS will be sent to all persons and entities on the Commission’s service and mailing lists for the Yuba River Project.  The EIS will include our recommendations for operating procedures, as well as PM&E measures that should be part of any license issued by the Commission.  All recipients will then have 60 days to review the EIS and file written comments with the Commission.  All comments on the draft EIS filed with the Commission will be considered in preparation of the final EIS.

The major milestones, including those for preparing the EIS, are as follows:

Major Milestone							Target Date

Director’s Study Plan Determination				September 16, 2011

License Application Filed						April 2014

Ready for Environmental Analysis Notice Issued		June 2014

Deadline for Filing Comments, Recommendations, and

Agency Terms and Conditions/Prescriptions			August 2014

Draft EIS Issued							February 2015

Comments on Draft EIS Due					April 2015

Deadline for Filing Modified Agency Recommendations	June 2015

Final EIS Issued							September 2015

If Commission staff determines that there is a need for additional information or additional studies, the issuance of the Ready for Environmental Analysis notice could be delayed.  If this occurs, all subsequent milestones would be delayed by the time allowed for YCWA to respond to the Commission’s request.  A copy of YCWA’s process plan, which has a complete list of relicensing milestones for the Yuba River Project, including those for developing the license application, is attached as appendix B to this SD2.

- 7.0  PROPOSED EIS OUTLINE

The preliminary outline for the Yuba River Project EIS is as follows:

PREFACE

COVER SHEET

FORWARD

TABLE OF CONTENTS

LIST OF FIGURES

LIST OF TABLES

ACRONYMS AND ABBREVIATIONS

EXECUTIVE SUMMARY

1.0    INTRODUCTION

1.1  Application

1.2  Purpose of Action and Need for Power

1.2.1  Purpose of Action

1.2.2  Need for Power

1.3  Statutory and Regulatory Requirements

1.3.1  Federal Power Act

1.3.1.1  Section 18 Fishway Prescriptions

1.3.1.2  Section 4(e) Conditions

1.3.1.3  Section 10(j) Recommendations

1.3.2  Clean Water Act

1.3.3  Endangered Species Act

1.3.4  Coastal Zone Management Act

1.3.5  National Historic Preservation Act

1.3.6  Wild and Scenic Rivers Act

1.3.7  Magnuson-Stevens Fishery Conservation and Management Act

1.3.8  Other Regulatory Requirement

1.4  Public Review and Comment

1.4.1  Scoping

1.4.2  Interventions

1.4.3  Comments on the Application

1.4.4  Comments on Draft EIS

2.0  PROPOSED ACTION AND ALTERNATIVES

2.1  No-action Alternative

2.1.1  Existing Project Facilities

2.1.2  Project Safety

2.1.3  Existing Project Operation

2.1.4  Existing Environmental Measures

2.2  Applicant’s Proposal

2.2.1  Proposed Project Facilities

2.2.2  Proposed Project Operation

2.2.3  Proposed Environmental Measures

2.2.4  Modifications to Applicant’s Proposal—Mandatory Conditions

2.3  Staff Alternative

2.4  Staff Alternative with Mandatory Conditions

2.5  Other Alternatives (as appropriate)

2.6  Alternatives Considered but Eliminated from Detailed Analysis

2.6.1  Issuing a Nonpower License

2.6.2  Retiring the Project

3.0   ENVIRONMENTAL ANALYSIS

3.1  General Description of the River Basin

3.2  Scope of Cumulative Effects Analysis

3.2.1  Geographic Scope

3.2.2  Temporal Scope

3.3  Proposed Action and Action Alternatives

3.3.1  Geologic and Soil Resources

3.3.2  Aquatic Resources

3.3.3  Terrestrial Resources

3.3.4  Threatened and Endangered Species

3.3.5  Recreation and Land Use

3.3.6  Cultural Resources

3.3.7  Aesthetic Resources

3.3.8  Socioeconomics

3.4  No-action Alternative

4.0  DEVELOPMENTAL ANALYSIS

4.1  Power and Economic Benefits of the Project

4.2  Comparison of Alternatives

4.3  Cost of Environmental Measures

5.0   CONCLUSIONS AND RECOMMENDATIONS

5.1  Comparison of Alternatives

5.2  Comprehensive Development and Recommended Alternative

5.3  Unavoidable Adverse Effects

5.4  Recommendations of Fish and Wildlife Agencies

5.5  Consistency with Comprehensive Plans

6.0  LITERATURE CITED

7.0  LIST OF PREPARERS

8.0  LIST OF RECIPIENTS

APPENDICES

A—License Conditions Recommended by Staff

B—Response to Comments on the Draft Environmental Assessment (FEIS only)

- 8.0 COMPREHENSIVE PLANS

Section 10(a)(2) of the FPA, 16 U.S.C. section 803(a)(2)(A), requires the Commission to consider the extent to which a project is consistent with federal and state comprehensive plans for improving, developing, or conserving a waterway or waterways affected by a project.  The staff has preliminarily identified and reviewed the plans listed below that may be relevant to the Yuba River Project.  Agencies are requested to review this list and inform the Commission staff of any changes.  If there are other comprehensive plans that should be considered for this list that are not on file with the Commission, or if there are more recent versions of the plans already listed, they can be filed for consideration with the Commission according to 18 CFR 2.19 of the Commission’s regulations.  Please follow the instructions for filing a plan at http://www.ferc.gov/industries/hydropower/gen-info/licensing/complan.pdf.

The following is a list of comprehensive plans currently on file (as of January 2011) with the Commission that may be relevant to the Yuba River Project.

California Advisory Committee on Salmon and Steelhead Trout. 1988.  Restoring the balance: 1988 annual report.  Sausalito, California.  84 pp.

California Department of Fish and Game. U.S. Fish and Wildlife Service. National Marine Fisheries Service. Bureau of Reclamation.  1988.  Cooperative agreement to implement actions to benefit winter-run Chinook salmon in the Sacramento River Basin. Sacramento, California.  May 20, 1988.  10 pp.

California Department of Fish and Game.  1990.  Central Valley salmon and steelhead restoration and enhancement plan. Sacramento, California.

April 1990.  115 pp.

California Department of Fish and Game.  1993.  Restoring Central Valley streams: A plan for action. Sacramento, California.  November 1993.

California Department of Fish and Game.  1996.  Steelhead restoration and management plan for California. February 1996.  234 pp.

California Department of Parks and Recreation.  1998.  Public opinions and attitudes on outdoor recreation in California. Sacramento, California.  March 1998.

California Department of Parks and Recreation.  California Outdoor Recreation Plan (SCORP).  Sacramento, California.  April 1994.

California Department of Water Resources.  1983.  The California water plan: projected use and available water supplies to 2010.  Bulletin 160-83. Sacramento, California. December 1983.  268 pp.

California Department of Water Resources.  1994.  California water plan update. Bulletin 160-93. Sacramento, California.  October 1994.  Two volumes and executive summary.

California Department of Water Resources.  2000.  Final programmatic environmental impact statement/environmental impact report for the CALFED Bay-Delta Program.  Sacramento, California.  July 2000.  CD Rom, including associated plans.

California State Water Resources Control Board.  1995.  Water quality control plan report.  Sacramento, California.  Nine volumes.

California - The Resources Agency.  Department of Parks and Recreation.  1983. Recreation needs in California.  Sacramento, California.  March 1983.

Forest Service.  1988.  Plumas National Forest land and resource management plan. Department of Agriculture, Quincy, California.  August 26, 1988.

Forest Service.  1990.  Tahoe National Forest land and resource management plan. Department of Agriculture, Nevada City, California.  March 1990.

National Park Service.  1982.  The nationwide rivers inventory.  Department of the Interior, Washington, D.C.  January 1982.

State Water Resources Control Board.  1999.  Water quality control plans and policies adopted as part of the State comprehensive plan.  April 1999.

U.S. Fish and Wildlife Service.  1990.  Central Valley habitat joint venture implementation plan: a component of the North American waterfowl management plan.  February 1990.

U.S. Fish and Wildlife Service.  2001.  Final restoration plan for the anadromous fish restoration program.  Department of the Interior, Sacramento, California.  January 9, 2001.

U.S. Fish and Wildlife Service. Canadian Wildlife Service.  1986.  North American waterfowl management plan.  Department of the Interior.  Environment Canada. May 1986.

U.S. Fish and Wildlife Service.  Undated.  Fisheries USA:  the recreational fisheries policy of the U.S. Fish and Wildlife Service.  Washington, D.C.

- 0.0 MAILING LIST

The list below is the Commission’s official mailing list for the Yuba River Project (FERC No. 2246) (as of March 31, 2011).  If you want to receive future mailings for the Yuba River Project and are not included in the list below, please send your request by email to efiling@ferc.gov or by mail to:  Kimberly D. Bose, Secretary, Federal Energy Regulatory Commission, 888 First Street, N.E., Room 1A, Washington, DC  20426.  All written and emailed requests to be added to the mailing list must clearly identify the following on the first page:  Yuba River Project No. 2246-058.  You may use the same method if requesting removal from the mailing list below.

Register online at http://www.ferc.gov/esubscribenow.htm to be notified via email of new filings and issuances related to this or other pending projects.  For assistance, please contact FERC Online Support at FERCOnlineSupport@ferc.gov or toll free at 1-

866-208-3676, or for TTY, (202) 502-8659.

Mailing List

| Party | Contact and Address |
| --- | --- |
| American Whitewater | Dave Steindorf California Stewardship Dir. American Whitewater 4 Baroni Drive Chico, California 95928-4314 |
| Appeal Democrat, The | Harold Kruser Appeal Democrat, The PO Box 431 Marysville, California 95901-0431 |
| California Fish & Game Commission | FERC Contact California Fish & Game Commission Attn: Environmental Services Division 1416 9th St Sacramento, California 95814-5511 |
| California Public Utilities Commission | Chairman California Public Utilities Commission 505 Van Ness Ave San Francisco, California 94102-3214 |
| California Salmon and Steelhead Association | Bob Baiocchi Private Consultant California Salmon and Steelhead Association PO Box 1035, 96103 |
| House of Representatives | Wally Herger House of Representatives Washington, District of Columbia 20515 |
| Institute for Policy Research | H Paul Friesema Institute for Policy Research 227 Scott Hall Northwestern University Evanston, Illinois 60208-1006 |
|  | Nevada County Local Agency Formation Com Executive Officer 950 Maidu Avenue Nevada City, California 95959 |
|  | Nevada County Resource Center Coordinator 113 Presley Way, Suite 1 Grass Valley, California 95945 |
|  | Nevada Irrigation District 1036 West Main Street Grass Valley, California 95945 |
| Northwest Power Planning Council | Suite 1100 851 SW 6th Ave Portland, Oregon 97204-1337 |
| Office of the Governor of California | Governor of California RE: FERC Projects Office of the Governor of California State Capitol Building Sacramento, California 95814 |
| Pacific Gas and Electric Company | Elizabeth Diamond Legal Secretary Pacific Gas and Electric Company PO Box 7442 San Francisco, California 94120 |
|  | Sierra County Local Agency Formation Com Executive Officer P.O. Box 530 Downieville, California 95936 |
|  | Sierra Nevada Conservancy Executive Director 11521 Blocker Drive, Suite 205 Auburn, California 95603 |
| US Bureau of Land Management | Larry Weitzel U.S. Bureau of Land Management California State Office 2800 Cottage Way Ste W1834 Sacramento, California 95825-1886 |
| US Army Corps of Engineers | Commander US Army Corps of Engineers San Francisco District Office 1455 Market St, #1760 San Francisco, California 94103 |
| Water Resources Control Board | Jeffrey Parks Senior Environmental Scientist Water Resources Control Board 1001 I St Sacramento, California 95814 |
| Yuba County | Yuba County Local Agency Formation Comm. Commission Clerk 825 Ninth Street, Suite B Marysville, California 95901 |
| Yuba County Fish and Game Commission | Deborah L Byrne Chair, Yuba County Fish and Game Yuba County Fish and Game Commission P.O. Box 589 Marysville, California 95901 |
| Yuba County Resource Center | Yuba County Resource Center Conservation District Director 1511 Butte House Road, Suite B Yuba City, California 95993 |
| Yuba County Water Agency | Nancy Jones Yuba County Water Agency 1402 D St Marysville, California 95901-4226 |
| Yuba County Water Agency | Donald R. Frost Yuba County Water Agency 1402 D St Marysville, California 95901-4226 |
| Yuba County Water Agency | Donn A Wilson Yuba County Water Agency 1402 D St Marysville, California 95901-4226 |
| Yuba County Water Agency | Curt Aikens General Manager Yuba County Water Agency 1220 F Street Marysville, California 95901 |
| Yuba County Water Agency | Anne Schneider Downey Brand LLP 555 Capitol Mall Fl 10 Sacramento, California 95814-4504 |
|  | Hallwood Irrigation District Post Office Box 1349 Marysville, California 95901 |
|  | Browns Valley Irrigation District 9370 Browns Valley School Road Post Office Box 6 Browns Valley, California 95918 |
|  | Brophy Water District 1190 Civic Center Boulevard Yuba City, California 95993 |
|  | Cordova Irrigation District Post Office Box 1111 Marysville, California 95901 |
|  | Dry Creek Mutual Water Company Post Office Box 813 Wheatland, California 95692 |
|  | Ramirez Water District 1528 Starr Drive, S-A Yuba City, California 95993 |
|  | South Yuba Water District Post Office Box 8 Rio Oso, California 95677 |
|  | Wheatland Water District Post Office Box 404 Wheatland, California 95962 |
|  | Browns Valley Irrigation District 9370 Browns Valley School Road Post Office Box 6 Browns Valley, California 95918 |
|  | Kyle Self Chairperson Greenville Rancheria of Maidu Indians P.O. Box 279 Greenville, California 95947 |
|  | Davis Keyser Chairperson United Auburn Indian Community 10720 Indian Hill Road Auburn, California 95603 |
|  | Waldo Walker Chairperson 919 U.S. Highway 395 South Gardnerville, NEW YORK 89410 |
|  | Glenda Nelson Tribal Chairperson 1940 Feather River Blvd, Suite B Oroville, California 95965 |
|  | Jim Edwards 5 Tyme Way Oroville, California 959669115 |
|  | Steve Santos Chairperson 125 Mission Ranch Blvd Chico, California 959262175 |
|  | Stacy Dixon Susanville Indian Rancheria P.O. Box U1745 Joaquin Street Susanville, California 96130 |
|  | Nicholas Fonseca Shingle Springs Band of Miwok Indians P.O. Box 1340 Shingle Springs, California 95682 |
|  | Jessie Raeder Organizer and Board Secretary SalmonAid 427 Fell Street San Francisco, California 94102 |

APPENDIX A

STUDY PLAN CRITERIA

18 CFR Section 5.9(b)

Any information or study request must contain the following:

1.	Describe the goals and objectives of each study proposal and the information to be obtained;

2.	If applicable, explain the relevant resource management goals of the agencies or Indian tribes with jurisdiction over the resource to be studied;

3. 	If the requester is not a resource agency, explain any relevant public interest considerations in regard to the proposed study;

4.	Describe existing information concerning the subject of the study proposal, and the need for additional information;

5.	Explain any nexus between project operations and effects (direct, indirect, and/or cumulative) on the resource to be studied, and how the study results would inform the development of license requirements;

6.	Explain how any proposed study methodology (including any preferred data collection and analysis techniques, or objectively quantified information, and a schedule including appropriate filed season(s) and the duration) is consistent with generally accepted practice in the scientific community or, as appropriate, considers relevant tribal values and knowledge; and

7.	Describe considerations of level of effort and cost, as applicable, and why proposed alternative studies would not be sufficient to meet the stated information needs.

APPENDIX B

PROCESS PLAN AND SCHEDULE

| Yuba River Project Preliminary Process Plan and Schedule |  |  |  |
| --- | --- | --- | --- |
| (shaded milestones are unnecessary if there are no study disputes; if due date falls on a weekend or holiday, the due date is the following business day) |  |  |  |
| Responsible Entity | Pre-Filing Milestone | Date | FERC Regulation |
| Applicant | File NOI/PAD with FERC | 11/5/10 | 5.5, 5.6 |
| FERC | Notice of Commencement of Proceeding & SD1 issued | 1/4/11 | 5.8 |
| FERC | Scoping and Environmental Site Review | 2/2/11 | 5.8(b)(viii) |
| FERC | Tribal Meeting | 4/25-27/11 | 5.7 |
| All stakeholders | NOI/PAD/SD1 comments due | 3/7/11 | 5.9 |
| FERC | Issue SD2 if needed | 4/19/11 | 5.1 |
| Applicant | File Proposed Study Plan | 4/19/11 | 5.11(a) |
| All stakeholders | Study Plan Meeting | 5/19/11 | 5.11(e) |
| All stakeholders | Study Plan Comments due | 7/18/11 | 5.12 |
| Applicant | File Revised Proposed Study Plan | 8/17/11 | 5.13(a) |
| All stakeholders | Revised Proposed Study Plan Comments due | 9/1/11 | 5.13(b) |
| FERC | Director's Study Plan Determination | 9/16/11 | 5.13(c) |
| Mandatory Cond. Agency | Any Study Disputes due | 10/6/11 | 5.14(a) |
| Study Determination Panel | Third Panel Member selected | 10/21/11 | 5.14(d)(3) |
| Study Det. Panel | Panel Convenes | 10/26/11 | 5.14(d) |
| Applicant | Applicant Comments on Study Dispute due | 10/31/11 | 5.14(j) |
| Study Det. Panel | Technical Conference held | 11/5/11 | 5.14(j) |
| Study Det. Panel | Panel Finding Issued | 11/25/11 | 5.14(k) |
| FERC | Director's Study Dispute Determination | 12/15/11 | 5.14(l) |
| Applicant | First Study Season | Spring/ Summer 2012 | 5.15(a) |
| Applicant | Initial Study Report | 9/15/12 | 5.15(c)(1) |
| All stakeholders | Initial Study Report Meeting | 9/30/12 | 5.15(c)(2) |
| Applicant | Initial Study Report Meeting Summary | 10/15/12 | 5.15(c)(3) |
| All stakeholders | Study Disputes/Request to Modify Study Plan due | 11/14/12 | 5.15(c)(4) |
| All stakeholders | Responses to Disputes/Study Requests | 12/14/12 | 5.15(c)(5) |
| FERC | Directors Study Plan Determination | 1/13/13 | 5.15(c)(6) |
| Applicant | Second Study Season | Spring/ Summer 2013 | 5.15(a) |
| Applicant | Updated Study Report due | 9/15/13 | 5.15(f) |
| All stakeholders | Updated Study Report Meeting | 9/30/13 | 5.15(f) |
| Applicant | Updated Study Report Meeting Summary | 10/15/13 | 5.15(f) |
| All stakeholders | Study Disputes/Request to Modify Study Plan due | 11/14/13 | 5.15(f) |
| All stakeholders | Responses to Disputes/Study Requests | 12/14/13 | 5.15(f) |
| FERC | Directors Study Plan Determination | 1/13/14 | 5.15(f) |
| Applicant | Preliminary Licensing Proposal due | 12/1/13 | 5.16(a) |
| All stakeholders | Comments on Preliminary Licensing Proposal | 3/1/14 | 5.16(e) |
| Applicant | License Application filed | 4/30/14 | 5.17 |
| Applicant | Public Notice of License Application filing | 5/14/14 | 5.17(d)(2) |
| Responsible Entity | Post-Filing Milestone | Date | FERC Regulation |
| FERC | Tendering Notice of new application | 5/14/14 | 5.19 |
| FERC | Director's Additional Studies Determination/Deficiencies | 5/30/14 | 5.19(e); 5.20(a)(2) |
| FERC | Ready for Environmental Analysis and Application Acceptance | 6/29/14 | 5.22 |
| All stakeholders | Comments, Interventions, Recommendations, prescriptions due | 8/28/14 | 5.23(a) |
| Applicant | Requests Section 401 Certification | 8/28/14 | 5.23(b) |
| Applicant | Reply Comments due | 10/12/14 | 5.23(a) |
| FERC | Issue Draft EIS | 2/24/15 | 5.25 |
| All stakeholders | Comments on EIS due | 4/25/15 | 5.25(c) |
| Agencies | Modified 4(e) Conditions and Fishway Prescriptions | 6/24/15 | 5.25(d) |
| FWS/NMFS | ESA biological opinion(s) as needed | 7/9/15 | ESA |
| FERC | Issue Final EIS | 9/22/15 | 5.25(e) |

16 U.S.C. § 791(a)-825(r).

The current license for the Yuba River Project was issued with an effective date of May 1, 1966, for a term of 50 years and expires on April 30, 2016.

? National Environmental Policy Act of 1969, as amended (Pub. L. 91-190. 42 U.S.C. § 4321-4347, January 1, 1970, as amended by Pub. L. 94-52, July 3, 1975, Pub. L. 94-83, August 9, 1975, and Pub. L. 97-258, § 4(b), Sept. 13, 1982).

The transcripts are available at: http://elibrary.ferc.gov/idmws/common/opennat.asp?fileID=12567075 (afternoon); and http://elibrary.ferc.gov/idmws/common/opennat.asp?fileID=12575354 (evening).