## Slide 1
Water Balance/Operations Modeling
Yuba River Development Project
FERC Project 2246 Relicensing
Wednesday, May 9, 2012

## Slide 2: Meeting Objectives
Review previous discussions
  Modeling Approach
Present Model
  Model Validation
  Base Case Scenario
  Yuba River Development Project Model

## Slide 3: Model Validation
Evaluation of model logic and hydrology against historical requirements and demands
  Lower Yuba River has been subject to several regulatory conditions over last 10 years
  Yuba River Development Project has operated to meet increasing irrigation demands over the last 10 years
  New Bullards Bar operational approach has changed over last 10 years
  YCWA has conducted multiple transfers in recent years
Conducted detailed evaluation of last 3 years
Conducted high-level evaluation of past 10 years

## Slide 4: Model Validation
Considered:
  Our House and Log Cabin dams operations
  New Bullards Bar Reservoir storage
  Flows below New Bullards Bar Reservoir
  Colgate Powerhouse flows
  Narrows 1 and 2 powerhouses releases
  Daguerre Point Dam Deliveries
  Flows at Marysville gage
  Powerhouse generation

## Slide 5: Flow below Our House Dam

## Slide 6: Lohman Ridge Tunnel Flow

## Slide 7: Flow below Log Cabin Dam

## Slide 8: Camptonville Tunnel Flow

## Slide 9: Mean Annual Flow at Our House and Log Cabin Dam Gages
Location | Historical |  | Modeled |  | Difference |  | % Difference | 
 | 3 Year | 10 Year | 3 Year | 10 Year | 3 Year | 10 Year | 3 Year | 10 Year
11408880 | 52.0 | 99.6 | 48.5 | 79.2 | 3.5 | 20.4 | 7% | 21%
11408870 | 159.4 | 165.5 | 163.0 | 185.9 | (3.5) | (20.4) | -2% | -12%
11409400 | 11.2 | 15.7 | 8.3 | 12.2 | 2.9 | 3.5 | 26% | 22%
11409350 | 189.4 | 204.9 | 196.0 | 229.3 | (6.6) | (24.4) | -3% | -12%

## Slide 10: New Bullards Bar Reservoir Target Storage

## Slide 11: New Bullards Bar Reservoir Storage 3-Year Validation

## Slide 12: New Bullards Bar Reservoir Storage 10-Year Validation

## Slide 13: Flow below New Bullards Bar Dam

## Slide 14: Colgate Powerhouse Releases

## Slide 15: Colgate Powerhouse Releases Summer of 2008 with weekends shaded

## Slide 16: Mean Annual Colgate Powerhouse Release
Location | Historical |  | Modeled |  | Difference |  | % Difference | 
 | 3 Year | 10 Year | 3 Year | 10 Year | 3 Year | 10 Year | 3 Year | 10 Year
11413510 | 1,011.2 | 1,206.4 | 1,069.0 | 1,250.2 | (57.8) | (43.8) | -6% | -4%
1141350 plus Low Outlet | 1,060.0 | 1,221.0 | 1,069.0 | 1,250.2 | (9.0) | (29.1) | -1% | -2%

## Slide 17: Flow below Englebright Dam 3-Year Validation

## Slide 18: Narrows 2 Powerhouse Releases 3-Year Validation

## Slide 19: Narrows 1 Powerhouse Releases 3-Year Validation

## Slide 20: Mean Annual Flow Below Englebright Dam
Location | Historical |  | Modeled |  | Difference |  | % Difference | 
 | 3 Year | 10 Year | 3 Year | 10 Year | 3 Year | 10 Year | 3 Year | 10 Year
11408880 | 1,496.5 | 1,937.9 | 1,551.4 | 1,991.8 | (54.9) | (53.9) | -4% | -3%
(water year 20007 data not available from USGS - YCWA records used) |  |  |  |  |  |  |  | 
11417980 | 1,090.6 | 1,372.8 | 919.4 | 1,077.8 | 171.2 | 295.0 | 16% | 21%
11417970 | 378.8 | 258.2 | 586.5 | 611.6 | (207.7) | (353.4) | -55% | -137%

## Slide 21: Daguerre Point Dam Deliveries

## Slide 22: Flow at Marysville Gage

## Slide 23: Colgate Powerhouse Generation

## Slide 24: Narrows 2 Powerhouse Generation

## Slide 25: Mean Annual Generation
Location | Historical |  | Modeled |  | Difference |  | % Difference | 
 | 3 Year | 10 Year | 3 Year | 10 Year | 3 Year | 10 Year | 3 Year | 10 Year
Colgate | 2,303.5 | 2,806.8 | 2,466.2 | 2,858.6 | (162.7) | (51.8) | -7% | -2%
Narrows 2 | 369.0 | 507.9 | 317.4 | 376.0 | 51.6 | 131.8 | 14% | 26%

## Slide 26: Base Case Scenario
Handout

## Slide 27: Yuba River Development Project Model
Version 1.1 on CD
  YRDP Model v1.1.xlsm
  YRDPM Input Hydrology 20120530.dss
  YRDPM Validation Input Hydrology 2001-2010 20120516.dss
  YRDP Validation Output.dss
  YRDPM v1.1 Base Case 20120614.dss
  Operations Modeling Assumptions 20120614.pdf
  Hydrology Report 20120614.docx
  Validation Report 20120614.docx
  HEC-DSS_Excel_Data_Exchange_Add-In_For_Excel_2007-2010_v321.exe