Yuba County Water Agency

Yuba River Development Project
FERC Project No. 2246
Yuba County Water Agency

Yuba River Development Project
FERC Project No. 2246

Study 2.3
DRAFT WATER QUALITY
June 10, 2010
[The redlines below show changes made by Licensee based comments received from FWN on May 11, 2010, a redline version of the study proposal from CDFG on 6/8, and comments made at the June 10 Study Proposal Development meeting.  Licensee 6/14] 

1.0
Project Nexus
Yuba County Water Agency’s (YCWA or Licensee) continued operation and maintenance (O&M) of the existing Yuba River Development Project (Project) has a potential to affect water quality.  Hydroelectric facilities control the timing and magnitude of flow delivered to stream channels and residence time of water within Project impoundments; these hydrologic factors define the physical, chemical and biological characteristics of water within the Yuba River watershed.  Recreational uses of Project reservoirs and facilities have the potential to impact water quality through direct and indirect human contact.
Water temperature is not addressed in this study but in two separate studies: Water Temperature Monitoring and Water Temperature Modeling.  Additionally, bioaccumulation of mercury and other constituents in fish is addressed in a separate study: Bioaccumulation. 
[In the 6/10 Relicensing Meeting, the CDFG suggested much of the above language.  Licensee has modified some terms to reflect Licensee’s understanding. JML 6/12]
2.0
Resource Management Goals of Agencies and Indian Tribes with Jurisdiction over the Resource Studied
[Agencies – Section 5.11(d)(2) states that an applicant for a new license must in its proposed study “Address any known resource management goals of the agencies or Indian tribes with jurisdiction over the resource to be studied.”  If each agency provides to YCWA a brief written description of their jurisdiction over the resource to be addressed in this study, YCWA will insert the brief description here/or attach it stating the description was provided by that agency.  If not, prior to issuing the PAD, YCWA will describe to the best of its knowledge and understanding the management goals of each agency that YCWA believes has jurisdiction over the resource addressed in this study.  Licensee] [At 5/12 meeting, agencies said they might provide a single write-up for all study proposals that covers all agencies.  Licensee said it would discus the write-up with Relicensing Participants when received, but said Licensees might add to Section 2 in some study proposals what it believed to be key information (e.g., noting USFWS ESA jurisdiction for ESA-listed fishes, and the SWRCB’s jurisdiction over water quality vis-à-vis the Basin Plan.  Licensee 5/12]
3.0

Study Goals and Objectives
The goals of this study are: 1) to characterize existing water quality conditions in Project reservoirs and Project-affected reaches of the North, Middle and mainstem Yuba rivers and tributaries including Oregon Creek, 2) to determine consistency with state and federal water quality standards, objectives and criteria, and 3) to identify potential Project O&M related causes for Basin Plan Objectives and Beneficial Use protections to not be met.  
The objective of the study is to collect water quality data adequate to meet the study goals.

4.0
Existing Information and Need for Additional Information

Available information consists of existing regulatory plans and advisories for the watershed, as well as water quality data collected to date in the project area.
4.1

Regulatory Status for Surface Water and Fish the Project Area
4.1.1

The Basin Plan
Water Quality Objectives and Beneficial Use Designations for Project reservoirs and Project affected stream reaches are established in Central Valley Regional Water Quality Control Board’s (CVRWQCB) Water Quality Control Plan (Basin Plan) for the Sacramento and San Joaquin Rivers, the fourth edition of which was initially adopted in 1998 and most recently revised in 2007 (CVRWQCB 1998).  The Yuba River Development Project and the area downstream of the Project falls within two Basin Plan Hydro Units: Hydro Unit 517, which includes New Bullards Bar Reservoir, and Hydro Unit 515.3, which includes the Yuba River from the United States Army Corp of Engineers’ (USACE) Englebright Dam to the Feather River.  Designated beneficial uses of surface water were excerpted from the Basin Plan and are shown by Hydro Unit in Table 4.1.1-1.
Table 4.1.1-1.  Beneficial uses of surface water within the Yuba River Development Project and the area downstream as designated by Hydro Unit (HU) in the Basin Plan (CVRWQCB 1998).

	Designated Beneficial Use

Description from Basin Plan, Section II
	Designated Beneficial Use

by Hydro Unit from Basin Plan, Table II-1

	
	Use
	Sources to USACE’s Englebright Reservoir 
	USACE’s Englebright Dam to Feather River

	
	
	HU 517
	HU 515.3

	Municipal and Domestic Supply (MUN)
	Uses of water for community, military or individual water supply systems including, but not limited to, drinking water supply.
	MUNICIPAL AND DOMESTIC SUPPLY
	Existing
	---

	Agricultural Supply (AGR)
	Uses of water for farming, horticulture, or ranching including, but not limited to, irrigation (including leaching of salts), stock watering, or support of vegetation for range grazing.
	IRRIGATION
	Existing
	Existing

	
	
	STOCK WATERING
	Existing
	Existing


Table 4.1.1-1.  (continued)
	Designated Beneficial Use

Description from Basin Plan, Section II
	Designated Beneficial Use

by Hydro Unit from Basin Plan, Table II-1

	
	Use
	Sources to USACE’s Englebright Reservoir 
	USACE’s Englebright Dam to Feather River

	
	
	HU 517
	HU 515.3

	Industry
	Uses of water for industrial activities that depend primarily on water quality.
	INDUSTRIAL PROCESS SUPPLY (PROC)
	---
	---

	
	Uses of water for industrial activities that do not depend primarily on water quality including, but not limited to, mining, cooling water supply, hydraulic conveyance, gravel washing, fire protection, or oil well repressurization.
	INDUSTRIAL SURVICE SUPPLY (IND)
	---
	---

	
	Hydropower generation
	POWER

(POW)
	Existing
	Existing

	Water Contact Recreation

(REC-1) 
	Uses of water for recreational activities involving body contact with water, where ingestion of water is reasonably possible.  These uses include, but are not limited to, swimming, wading, water skiing, skin and scuba diving, surfing, white water activities, fishing, or use of natural hot springs.
	CONTACT
	Existing
	Existing

	
	
	CANOEING AND RAFTING*

	Existing
	Existing


	Non-Contact Water Recreation (REC-2)
	Uses of water for recreational activities involving proximity to water, but where there is generally no body contact with water, nor any likelihood of ingestion of water.  These uses include, but are not limited to, picnicking, sunbathing, hiking, beach-combing, camping, boating, tide-pool and marine life study, hunting, sightseeing, or aesthetic enjoyment in conjunction with the above activities.
	OTHER NON-CONTACT
	Existing
	Existing

	Freshwater Habitat
	Uses of water that support warm water ecosystems including, but not limited to, preservation or enhancement of aquatic habitats, vegetation, fish, or  wildlife, including invertebrates.
	WARM1,2
	---
	Existing

	
	Uses of water that support cold water ecosystems including, but not limited to, preservation or enhancement of aquatic habitats, vegetation, fish, or wildlife, including invertebrates.
	COLD1,2
	Existing
	Existing

	Migration of Aquatic Organisms (MGR)
	Uses of water that supports habitats necessary for migration or other temporary activities by aquatic organisms, such as anadromous fish.
	WARM2,3
	---
	Existing

	
	
	COLD2,4
	---
	Existing


	 Spawning (SPWN)
	Uses of water that support high quality aquatic habitats suitable for reproduction and early development of fish.
	WARM2,3
	---
	Existing

	
	
	COLD2,4
	Existing
	Existing

	Wildlife Habitat (WILD)
	Uses of water that support terrestrial or wetland ecosystems including, but not limited to, preservation or enhancement of terrestrial habitats or wetlands, vegetation, wildlife (e.g., mammals, birds, reptiles, amphibians, invertebrates), or wildlife water and food sources.
	WILDLIFE HABITAT
	Existing
	Existing


1
Resident fish; does not include anadromous.  
2
Any hydrologic unit with both WARM and COLD beneficial use designations is considered COLD water bodies for the application of water quality objectives (CVRWQCB 1998).

3
Striped bass, sturgeon and shad.

4
Salmon and steelhead.

*  Canoeing and rafting are flow-dependent beneficial uses.  
4.1.2

California’s List of Impaired Waters
Section 303(d) of the Clean Water Act (CWA) requires that every two years each State submit to the United States Environmental Protection Agency (EPA) a list of rivers, lakes and reservoirs in the State for which pollution control or requirements have failed to provide for water quality.  The CVRWQCB and State Water Resources Control Board (SWRCB) work together to research and update the list for the Central Valley region of California.  Based on a review of this list and its associated Total Maximum Daily Load (TMDL) Priority Schedule, in the Project Vicinity, USACE’s Englebright Reservoir has been identified by the SWRCB as CWA §303(d) State Impaired for mercury; and Deer Creek, a tributary to the Yuba River, has been identified as impaired for pH (SWRCB 2006).  However, there are currently no approved TMDL plans for the Yuba River.  
In 2009, the CVRWQCB recommended including additional surface waters in the Project Area to the 303(d) list as impaired for mercury:  New Bullards Bar Reservoir, the Middle Yuba River, the North Fork Yuba River from New Bullards Bar Dam to Englebright Reservoir, the South Yuba River from Lake Spaulding to USACE’s Englebright Reservoir, and the Lower Yuba River from USACE’s Englebright Reservoir to the Feather (CVRWQCB 2009).  The CVRWQCB is also recommending that the lower Yuba River be added to the 303(d) list as impaired for iron (CVRWQCB 2009).  These recommendations are scheduled to be considered and adopted by the SWRCB at the August 3, 2010 Board meeting, at which time will advanced forward for approval by the United States EPA ( Azimi-Gaylon, pers. comm., 2010). [In its May 11 email, FWN suggested updating the above paragraph closer to the PAD issuance since concurrence may happen before then.  Licensee concurs.  Licensee 5/13]  
4.1.3

Fish Ingestion Advisories
Using available fish tissue data and risk-based methodologies, the Office of Environmental Health Hazard Assessment (OEHHA) has issued species-specific fish ingestion advisories for trout, sunfish and bass caught in USACE’s Englebright Reservoir (OEHHA 2003, OEHHA 2009).  Fish ingestion advisories previously issued for Deer Creek, a tributary to the Yuba River, were recently retracted due to an insufficient quantity of data (OHHEA 2009).
4.2

Existing Water Quality Information
Existing, relevant and reasonably available information found at the Project Area
 was documented in Section 7.2.9 of the Licensee’s  Preliminary Information Package (YCWA 2009) and is summarized below.  
4.2.1

Licensees’ Summer 2009 Data
Information regarding water quality in the Project Area was gathered during the low flow summer season in 2009, a period when Project O&M effects were expected to be most pronounced, if they occur.  The study consisted of two elements:  a general water quality element and a recreation element. The general water quality element consisted of collecting samples from the reservoirs and stream reaches of the Project Area and analyzing each sample for 35 analytes.  Secchi disc measurements were also made within reservoirs.  The recreation study element consisted of collecting samples adjacent to New Bullards Bar Reservoir’s Emerald Cove and Dark Day Campground boat ramps on five separate days over a 30 day period that included the Labor Day weekend.  Bacteria counts were made for these samples.

Surface water samples were collected from the 17 locations between September 14 and 17, 2009.  Temperatures ranged between 8.8 to 16.1 degrees Centigrade (°C) at all locations except upstream of the Project near the South Yuba River State Park, which had a temperature of 20.9°C.  Dissolved oxygen (DO) was generally between 7.3 and 9.5 milligrams per liter (mg/L).  Ph ranged between 7.3 and 8.3 standard units (su) in all 17 samples, while turbidity ranged from non-detect to 15.4 Nephelometric Turbidity Units (NTU) and hardness ranged from 21 to 90 mg/L.  The Secchi disc measurement for New Bullards Bar was 9 feet and for USACE’s Englebright Reservoir, the Secchi disc depth was 12 feet.  Below and within Project facilities, metals and dissolved metals concentrations were either non-detect using laboratory methods or present in trace amounts, and metals met both drinking water standards and aquatic life protective criteria.  

Fecal coliform and Escherichia coli (E. coli) were not found, while total coliform was found. Fecal coliform is the only one of these parameters for which there is a Basin Plan Objective.  Since total coliform counts were not accompanied by commensurate E. coli counts, it is likely that humans are not responsible for the observed total coliform.
4.2.2

Sacramento River Watershed Program 1996-1998
The Sacramento River Watershed Program collected 27 samples over a 3-year period between 1996 and 1998 from a site near Marysville, directly upstream of the Yuba River’s confluence with the Feather River (LWA 2000 IN HDR|SWRI 2007.  In this program, pH ranged from 7.0-7.8 su, turbidity ranged from 1-153 NTU],  DO ranged from 8.0-12 mg/L, Total Organic Carbon (TOC) ranged from 0.7-2.4 mg/L, nitrate-nitrite concentrations ranged from 0.05-0.14 mg/L, and electrical conductivity (EC) ranged from 44-105 microSeimens per centimeter (µS/cm).  Samples were also analyzed for mercury (total; 1.19-46.7 nanograms per Liter, or ng/L).  Samples collected in the earliest rounds were also analyzed for seven trace metals which were taken off the anlayte list after metal concentrations were found to be consistently below drinking water criteria (LWA 2000).
4.2.3

Oroville Relicensing Water Quality Study 2002-2004
In support of the Oroville Dam relicensing effort, the California Department of Water Resources (CDWR) collected 30 samples from a Feather River site near Marysville, directly upstream of the Yuba River’s confluence with the Feather River (DWR 2004 IN HDR|SWRI 2007).  DWR analyzed each sample for more than 50 analytes, including total and dissolved metals.  In the DWR samples, pH ranged from 7.1-7.4 su; turbidity ranged from 0.5-17.2 mg/L; DO ranged from 8.4-14.2 mg/L; TOC ranged from 0.8-3.6 mg/L; nitrate-nitrite concentrations ranged from less than 0.01-0.08 mg/L; and EC ranged from 76-28 µS/cm.  

4.2.4

South Yuba River Citizens League (SYRCL) 2000-2009
Since 2000, the South Yuba River Citizens League (SYRCL), a non-governmental organization, has implemented a citizen’s monitoring program, funded by a grant sponsored by the Regional Water Quality Control Board (RWQCB), to collect surface water samples and monitor water quality conditions in the watershed. This effort has identified arsenic, bacteria and mercury as parameters of concern within the Yuba River Basin (SYRCL Website 2005 IN HDR|SWRI 2007).  Surface water samples were collected from the North Yuba River just upstream of New Bullards Bar Reservoir during an 8 to 12-month period in 2001 (SYRCL 2007 IN HDR|SWRI 2007).  A total of seven samples were collected for six general water quality parameters: pH ranged from 7-8.1 su, turbidity ranged from 0-45 mg/L, DO ranged from 8.3-12.3 mg/L, TOC  ranged from 0.59-2.6 mg/L, nitrate-nitrite ranged from 0.025-0.05 mg/L, and EC ranged from 20-30 µS/cm.  
Between 2001 and 2009, SYRCL collected samples from three locations downstream of USACE’s Englebright Reservoir to the Feather River confluence, Parks Bar at Highway 20, Hallwood Avenue, and Marysville above the confluence with the Feather River (SYRCL 2009).  Samples were analyzed at different frequencies and results were as follows: coliform ranged from 42 to greater than 2,410 MPN/100 ml; arsenic ranged from non-detect in laboratory analysis to 3.9 mg/L; iron ranged from non-detect to 2360 mg/L; copper ranged from 1.06-19 mg/L; zinc ranged from 0.4-13.6 mg/L; chromium ranged from non-detect to 0.94 mg/L; and turbidity ranged from non-detect to 27 mg/L.
[In its May 11 email, FWN stated that SYRCL has also monitored water quality at sites in Oregon Creek, Middle Yuba River and Yuba River near New Colgate Powerhouse,  Licensee will try to obtain (if we don’t already have it), review the data and update this section.  Licensee 5/13]
4.2.5

Need for Additional Data

Historic data suggest that surface water of the Project Area generally meets Basin Plan Objectives.  However, the vast majority of historic data is 10 years old or more, much of it has been collected near the mouth of the Yuba River, and Licensee’s 2009 data was collected only in one season – summer low flow period.  Data collection efforts throughout project affected streams and impoundments during the spring runoff would be useful.  
[In the June 10 relicensing meeting, CDFG indicated that summer low flow and fall turnover data would be useful, as well.  JML 6/14]
5.0

Study Methods and Analysis
5.1

Study Area

For the purpose of this study, the study area includes 1) the Middle Yuba River from and including Our House Diversion Dam Impoundment to the confluence with the North Yuba River, 2) Oregon Creek from and including the Log Cabin Diversion Dam Impoundment to the confluence with the Middle Yuba River, 3) the North Yuba River from and including New Bullards Bar Dam Reservoir to the confluence with the Middle Yuba River, and 4) and the portion of the Yuba River from the confluence of the North and Middle Yuba rivers to the Feather River, including USACE’s Englebright Reservoir.  Background conditions will be collected from sites upstream of all Project facilities.
If YCWA proposes an addition to the Project, the study area will be expanded if necessary to include areas potentially affected by the addition.
5.2

General Concepts and Procedures
The following general concepts and practices apply to the study: 

· Personal safety is the most important consideration of each fieldwork team.  

· Licensee will make a good faith effort to obtain permission to access private property where needed well in advance of entering the property.

· Field crews may make minor variances to the FERC-approved study in the field to accommodate actual field conditions and unforeseen problems.  When minor variances are made, Licensee’s field crew will follow the protocols in the FERC-approved study. 
· When Licensee becomes aware of major variances to the FERC-approved study, Licensee will issue an e-mail to the Relicensing Contact List describing the variance and reason for the variance.  Licensee will contact by phone the Forest Service (if the variance is on National Forest System land), USFWS, SWRCB and CDFG to provide an opportunity for input regarding how to address the variance.  Licensee will issue an e-mail to the Relicensing Contact List advising them of the resolution of the variance.  Licensee will summarize in the final study report all variances and resolutions.      
· Licensee’s performance of the study does not presume that Licensee is responsible in whole or in part for measures that may arise from the study.

· Global Positioning System (GPS) data will be collected using either a Map Grade Trimble GPS (sub-meter data collection accuracy under ideal conditions), a Recreation Grade Garmin GPS unit (3 meter data collection accuracy under ideal conditions), or similar units.  GPS data will be post-processed and exported from the GPS unit into Geographic Information System (GIS) compatible file format in an appropriate coordinate system using desktop software. The resulting GIS file will then be reviewed by both field staff and Licensee’s relicensing GIS analyst.  Metadata will be developed for deliverable GIS data sets.

· Licensee will provide training to field crews to identify [agencies to develop a short suggested standard species list to be included here in each study proposal assuming Licensee agrees with the list – Licensee 4/15/10] that may reasonably be encountered coincidently during the performance of this study.  Training will include instructions in diagnostic features and habitat associations of the above species.  Field crews will also be provided laminate identification sheets showing the above species compared to other common species that may be encountered.  All incidental observations will be reported in the appropriate Licensee report (e.g., incidental observations of special-status fish recorded during fieldwork for the Special-Status Turtles – Western Pond Turtle Study will be reported in Licensee’s Stream Fish Populations Study report).  The purpose of this effort is not to conduct a focus study (no effort in addition the specific field tasks identified for the specific study) or to make all field crews experts in identifying all species, but only to opportunistically gather data during the performance of the study.  

· Field crews will be trained on and provided with materials (e.g. Quat) for decontaminating their boots, waders, and other equipment between study sites.  Major concerns are amphibian chytrid fungus and invasive invertebrates (e.g. zebra mussels, Dreissena polymorpha).  This is of primary importance when moving: 1) between tributaries and mainstem reaches; 2) moving between basins (e.g. Middle Yuba River, North Yuba River, and Yuba River); and 3) moving between isolated wetlands or ponds and river or stream environments.

5.3

Methods

The study will be performed in 8 steps: 1) select water quality parameters; 2) select sampling locations; 3) collect water samples; 4) perform laboratory analyses using standard methods adequately sensitive  to determine consistency with state and federal water quality standards; 5) prepare quality assurance/quality control (QA/QC) review; 6) determine consistency with Basin Plan Objectives and beneficial use protection needs; 7) consult Operations Staff; and 8) prepare report.  The report will be made available to Relicensing Participants.  Each of these steps is described below.
5.3.1

Step 1 - Select Water Quality Parameters

For the purpose of this study proposal, water quality parameters to be measured are divided into two categories: 1) general water quality, and 2) recreation.  The parameters included in each category and associated information are listed in Table 5.3.1-1.  
Table 5.3.1-1.  Water quality parameters to be measured and methods, reporting limits and laboratory holding times for each.  (to be reviewed for reporting limit sensitivity – Freshwater Aquatic Life Protections – SST 6/8); [arsenic –drinking water standard most sensitive. CL) 
	
	Analyte
	Method
	Target Reporting  Limit

µg/L (or other)
	Hold
Time

	GENERAL STUDY
	BASIC WATER QUALITY- IN SITU

	
	Dissolved Oxygen
	DO
	SM 4500-O
	0.1 mg/L
	Field

	
	Specific conductance
	---
	SM 2510A
	0.001 µmhos
	Field

	
	pH
	---
	SM 4500-H
	0.1 su
	Field

	
	Turbidity
	---
	SM 2130 B
	0.1 NTU
	Field

	
	Secchi Disc
	---
	---
	---
	Field

	
	BASIC WATER QUALITY—LABORATORY

	
	Total Organic Carbon
	TOC
	SM 5310 
	0.2 mg/L
	28 d

	
	Dissolved Organic Carbon
	DOC
	EPA 415.1 D
	0.5/0.1 
	28 d

	
	Total Dissolved Solids
	TDS
	EPA 2540 C SM 2340 C 
	1 mg/L
	7d

	
	Total Suspended Solids
	TSS
	EPA 2520 D SM 2340 D
	1 mg/L
	7d

	
	INORGANIC IONS

	
	Total Alkalinity 
	---
	SM 2340 B
	2000
	14 d

	
	Calcium
	Ca
	EPA 6010 B
	30
	180 d

	
	Chloride
	Cl
	EPA 300.0
	20
	28 d

	
	Hardness (measured value)
	---
	EPA 2340 B SM 2340 C 
	1 mg/L as CaCO3
	14 d

	
	Magnesium
	Mg
	EPA 6010 B
	1
	180 d

	
	Potassium
	K
	EPA 6010 B
	500
	180 d

	
	Sodium
	Na
	EPA 6010 B
	29
	180 d

	
	Sulfate
	S

 HYPERLINK "http://en.wikipedia.org/wiki/Oxygen" \o "Oxygen" O42−
	EPA 300.0
	1.0 mg/L
	28 d

	
	Sulfide
	S2−
	SM 4500 S2 - D
	0.05 mg/L
	28 d

	
	NUTRIENTS

	
	Nitrate-Nitrite 
	---
	EPA 300.0
	2
	28 d <pH 2

	
	Total Ammonia as N 
	---
	EPA 4500-NH3 SM 4500-NH3
	0.02
	28 d <pH 2

	
	Total Kjeldahl Nitrogen as N 
	TKN
	SM 4500 N
	100
	28 d <pH 2

	
	Total phosphorus 
	TP
	SM4500 P
	20
	28 d <pH 2

	
	Dissolved Orthophosphate 
	PO4
	EPA 365.1 EPA 300.0
	0.01
	48 h at 4 °C

	
	METALS (total and dissolved)

	
	Aluminum (total and dissolved)
	Al
	EPA 200.8/EPA 1638
	4.0/ 0.4
	180 d

	
	Arsenic (total and dissolved)
	As
	EPA 200.8/1638
	0.15/0.04
	180 d

	
	Cadmium (total and dissolved)
	Cd
	EPA 200.8/1638
	0.020/0.004
	180 d

	
	Chromium, Total (total and dissolved)
	Cr
	EPA 200.8/1638
	0.010/0.03
	180 d

	
	Copper (total and dissolved)
	Cu
	EPA 200.8/1638
	0.10/0.01
	180 d

	
	Iron (total and dissolved)
	Fe
	EPA 200.8/1638
	10.0/3.2
	180 d

	
	Lead (total and dissolved)
	Pb
	EPA 200.8/EPA 1638
	0.040/0.003
	180 d

	
	Mercury (total)
	Hg
	EPA 1631
	0.0005/0.00008
	28 d

	
	Methylmercury (total and dissolved)
	CH3Hg
	EPA 1630
	0.00005/0.000019
	90 d

	
	Nickel (total and dissolved)
	Ni
	EPA 200.8/1638
	0.10/0.01
	180 d

	
	Selenium (total)
	Se
	EPA 200.8/1638
	0.60/0.19
	180 d

	
	Silver (total and dissolved)
	Ag
	EPA 200.8/1638
	0.20/0.006
	180 d

	
	Zinc (total and dissolved)
	Zn
	EPA 200.8/1638
	0.2/0.1
	180 d

	RECREATION?  STUDY
	BACTERIA

	
	Total coliform 
	---
	SM 9221
	1.1 MPN
	24 h

	
	Fecal coliform 
	---
	SM 9221
	1.1 MPN
	24 h

	
	Escherichia coli 
	E. coli
	SM 9223
	1.1 MPN
	24 h

	
	PETROLEUM HYDROCARBONS

	
	Total Petroleum Hydrocarbons (gasoline range)
	TPH-g
	SW 8015B
	50
	14 d

	
	Oil & Grease
	O&G
	Visual Observation
	---
	---


Key:

EPA = United States Environmental Protection Agency

CaCO3 = Calcium carbonate

d = days

h = hours

µmhos = micro-ohms

µg/L = micrograms per liter (equals parts per billion)

mg/L = milligrams per liter (equals parts per million)

MPN = Most Probable Number

NTU = Nephelometric Turbidity Units

SM = Standard Method


su = Standard Unit

5.3.2

Step 2 – Select Sampling Locations

5.3.2.1

Select General Water Quality Sample Locations
General water quality samples will be collected upstream and downstream of the Project reservoir, diversions and powerhouses.  Samples will also be collected downstream of Project facilities at multiple sites between USACE’s Englebright Reservoir and the Feather River.  In New Bullards Bar Reservoir and in the USACE’s Englebright Reservoir samples will be collected at a minimum of three sites each, including the deepest part of the reservoir near the dams.  At each reservoir location, general water chemistry samples will be collected for laboratory analysis at two depths: within the hypolimnion and just below the surface in the epilimnion (Table 5.3.2-1).   
[In the June 10 meeting, CDFG asked that the Study Plan include reservoir maps with detail to show tributary and tunnel inflow points, plus proposed WQ sampling stations.  These maps will be provide din the PAD.  JML] 
Table 5.3.2-1.  General water quality sample Locations--reservoirs.
	Reservoir
	Sample Depth
	Location

	NORTH YUBA RIVER

	New Bullards Bar Reservoir 
	Surface
	Three Sites:  1) Near Madrone Cove, 2) Mid-Reservoir at influence of Slate Creek, and 3) Near Dam

	
	Bottom
	

	YUBA RIVER

	USACE’s Englebright Reservoir 
	Surface
	Three Sites: 1) Upper reservoir, 2) Mid-Reservoir, and 3) Near Dam

	
	Bottom
	


Stream samples for general water quality will be collected upstream and downstream of New Bullards Bar Reservoir and USACE’s Englebright Reservoir, and at four locations between USACE’s Englebright Dam and the Feather River (Table 5.3.2-2)).  Water chemistry samples will be grab samples collected for laboratory analysis from the moving water. [In the June 10 meeting, CDFG asked that the Study Plan include maps with detail to show tributary inflow and powerhouse discharge points, plus WQ sampling stations. These maps will be provided in the PAD JML 6/10]
Table 5.3.2-2.  General water quality sample locations—stream reaches.
	Stream Reach
	Sample Depth
	Location
	Notes

	MIDDLE YUBA RIVER

	Our House Diversion  Development
	Surface
	Above Our House Dam Diversion
	Above New Bullards Bar Inflow SYRCL Sampling Site

	
	Surface
	Below Our House Dam Diversion
	Immediately downstream of dam

	
	Surface
	MYR upstream of confluence with NYR
	MYR and Oregon Creek conditions

	OREGON CREEK

	Log Cabin Diversion  Development
	Surface
	Above Log Cabin Diversion Dam
	Immediately upstream of the impoundment and above inflow from tunnel

	
	Surface
	Below Log Cabin Diversion Dam
	Immediately downstream of dam

	NORTH YUBA RIVER

	New Bullards Bar Inflow
	Surface
	Below Fiddle Creek at Hwy 491
	SYRCL Sampling Site

	New Bullards Bar Dam/Fish Release Powerhouse
	Surface
	Below New Bullards Bar Dam
	---

	YUBA RIVER

	New Colgate Powerhouse Development
	Surface
	Above Colgate Powerhouse
	SYRCL Sampling Site

	
	Surface
	Below Colgate Powerhouse 
	---

	
	Surface
	Downstream of Dobbins Ck/ upstream of SYR confluence & high-water line of Englebright Reservoir
	Mixing of Dobbins with New Bullards/Colgate flow in Yuba

	SOUTH YUBA RIVER

	USACE’s Englebright Reservoir Inflow
	Surface
	South Yuba River State Park – SYR upstream of Englebright high-water line
	SYR delivery conditions from Yuba-Bear and Drum-Spaulding Projects;  and routing; SYRCL’s Bridgeport sampling site

	YUBA RIVER

	Narrows 2 Powerhouse Tailrace
	Surface
	Narrows #2 Tailrace/ Below USACE’s Englebright Dam
	---

	Below USACE’s Englebright  Dam (Narrows 2 Tailrace)  to Feather River
	Surface
	Below Deer Creek at Hwy 20
	SYRCL Sampling Site

	
	Surface
	Below USACE’s Daguerre Point Diversion Dam
	SYRCL Sampling Site

	
	Surface
	At Walnut Avenue
	---

	
	Surface
	Marysville
	SYRCL Sampling Site


1
Or, if water levels are low, a location in flowing water upstream of the reservoir

2 A location near the head of the reservoir.


[In its May 11 email, FWN recommended 1) that the site above Log Cabin Diversion Dam should be located above inflow from diversion, and adding a site above New Colgate Powerhouse.  FWN also noted that SYRCL has sampling sites at Bridgeport, below Colgate and above Our House.  Licensee added these sites.  Licensee 7/3]
5.3.2.2

Select Recreation Water Quality Sample Locations
Recreation water quality samples will be collected from the surface of New Bullards Bar Reservoir near the boat ramps in Emerald Cove a Dark Day Campground(Table 5.3.2-1
Table 5.3.2-3.  Recreation water quality sample locations--reservoir.
	Reservoir
	Sample Depth
	Location

	NORTH YUBA RIVER

	New Bullards Bar Reservoir 
	Surface
	Emerald Cove Near the Boat Ramp

	
	Surface
	Dark Day Cove Near the Boat Ramp

	
	
	


[In the June 10 relicensing meeting, CDFG indicated that bacteria sampling in project affected reaches where swimming and fishing occur should be performed.  License only proposes sampling near Project recreation facilities.  Licensee 6/14]
5.3.3

Step 3 – Collect Samples
All data will be acquired in accordance with standard quality assurance practices.  [Field QA/QC and chain of custody descriptions are provided below, under “Laboratory Samples”. JML 6/12]
5.3.3.1

Reservoir and Stream Sampling
In Situ Sampling

In situ water quality measurements will be made at these same depths with a Hydrolab DataSonde 5 (Hydrolab), or other instrument with similar precision and accuracy.  Water temperature (±0.1°C), DO (±0.2 mg/L), pH (±0.2 standard unit, or su), specific conductance (±0.001 micromhos per centimeter (µomhos/cm)), and turbidity (± 1 NTU) will be measured in situ using a Hydrolab DataSonde 5 or other similar instrument that has the same precision and accuracy.  Prior to and after each use, the instrument will be calibrated using manufacturer’s recommended calibration methods. Any variances will be noted on the field data sheet and final report and recalibration or repair done as necessary.  Licensee will note relevant conditions during each sampling event on the field data sheet (i.e., air temperature, flow, description of location, floating material, evidence of oil and grease, and activities in the vicinity of sampling site that could cause short or long term alterations to water quality, such as dredging).    [Addressed under Section 5.2.  No need to repeat.  JML 7/3]
Laboratory Samples

Each laboratory sample will be collected into laboratory-supplied clean containers.  Water samples to be analyzed for metals will be taken using “clean hands” methods consistent with the EPA’s Method 1669 sampling protocol Sampling Ambient Water for Trace Metals at EPA Water Quality Criteria (EPA 1995).  Samples requiring filtration before metals analysis will be filtered in accordance with standard protocols in the field.  Certification of filter cleanliness will be obtained from the vendor and kept in the Project files.
All sample containers will be labeled with the date and time that the sample is collected, sampling site or identification label and handled in a manner consistent with appropriate chain-of-custody protocols.  The sample container will be preserved (as appropriate), stored and delivered to a State of California-certified water quality laboratory for analyses of the parameters listed in Table 5.3.1-1 in accordance with maximum holding periods for each parameter.  A chain-of-custody record will be maintained with the samples at all times.  The sampling site location will be recorded using a GPS unit.
As part of the field quality assurance program, two field blanks and equipment rinsates will be collected and submitted to the laboratory (approximately one for every ten analyses).  A field blank is a sample of analyte-free water poured into the container in the field, preserved and shipped to the laboratory with samples.  A field blank for filtered samples will be similarly created, but filtered using field techniques before pouring into the container.  A field blank assesses the contamination from field conditions during sampling.  A rinsate is a sample of analyte-free water poured over or through decontaminated field sampling equipment prior to the collection of samples.  It assesses the adequacy of the decontamination processes.  Two duplicate samples will also be collected.
Secchi Depth Readings in Reservoirs

Prior to collecting reservoir samples, a Secchi disk will be slowly lowered into the water on the shady side of the boat until it is no longer visible, and the depth recorded.  Then, the Secchi disc will be slowly raised until it just becomes visible once again and this depth will be recorded a second time.  The average the two depths will be considered the Secchi depth. 

5.3.4

Step 4 – Perform Laboratory Analyses
All laboratory analyses will be conducted using EPA Standard Methods or the equivalent sufficiently sensitive to detect and report at levels necessary for evaluation against state and federal water quality standards.  A State of California-certified laboratory will prepare and analyze water samples for the following surface water analytical parameters:
· Basic Water Chemistry - Laboratory

· Inorganic Ions

· Metals

· Nutrients
· Bacteria

· Petroleum Hydrocarbons

The analytes and target reporting limits associated with each parameter are listed in Table 5.3.1-1.

5.3.5

Step 5 – Prepare Quality Assurance/Quality Control Review
All data will be verified and/or validated as appropriate.  In brief, following the field sampling and laboratory analyses, which includes the laboratories’ own QA/QC analysis, Licensee will subject all data to QA/QC procedures including, but not limited to: spot-checks of transcription; review of electronic data submissions for completeness; comparison of results to field blank and rinsate results; and, identification of any data that seem inconsistent.  If such a datum is found, Licensee will consult with the laboratory to identify any potential sources of error before concluding that the datum is correct. 
All verified chemical detections, including data whose results are “J” qualified,
 will be used for this assessment.  Should the laboratory need to re-extract samples and re-run the sample under different calibration conditions, the data identified by the laboratory, as the most certain, will be used.  If field-sampling conditions, as measured by the field blank and the rinsate sample results, indicate that samples have been corrupted, Licensee will identify the data accordingly.
5.3.6
Step 6 – Determine Consistentency with Basin Plan Objectives
Table 5.3.6-1 shows the standards, criteria and benchmark values that will be used to assist with in the assessment of sample results and their consistency with the Basin Plan Objectives.  The selected values primarily consist of the Title 22 drinking water standards, which are incorporated by reference into the Basin Plan itself, and the California Toxics Rule (CTR) (EPA 2000). However, when a study analyte does not have a compliance threshold (benchmark) in one these preferred sources, benchmarks will be applied from A Compilation of Water Quality Goals (Marshack 2008, as amended for July 2008 – April 2010); Water Quality Standards for Recreational Waters (EPA 2003; another compilation with multiple regional sources); and others as cited. [In the 6/10 Relicensing Meeting, the SWRCB committed to reviewing the “compliance threshold” language and revising, if necessary. Licensee 6/14]
Table 5.3.6-1.  Standards, Criteria and Benchmarks used for evaluating the protection of designated beneficial uses of water in project reservoirs and project-affected stream reaches.1 
[to be reviewed by CDFG – SST 6/8]  [Licensee to ensure Marshack benchmarks are up-to-date – CL 6/13]]
	 Analyte 
(from Table 5.3.1-1)
	Symbol or Abbreviation
	Standard, Criteria or Benchmark 
Value
	Reference
	Notes

	BACTERIA (MUN, REC-1)

	Total coliform
	---
	< 10,000 MPN per 100 mL

< 240 MPN per 100 mL (geometric mean);
	EPA 2003
	Water contact recreation, Single Day Sample;

Water contact recreation, 30 Day geometric mean

	Fecal coliform
	---
	< 200 MPN per 100 mL (geometric mean); < 10% of samples > 400 MPN per 100 mL
	CVRWQCB 1998
	Water contact recreation, 30 Day geometric mean; with individual samples not  > 400 mpn/100 

	Escherichia coli
	E. Coli
	< 126 MPN per 100 mL (geometric mean) 

 <235 MPN per 100 mL in any single sample
	CVRWQCB 2002; EPA 2003
	Water contact recreation, 30 Day geometric mean

	BIOSTIMULATORY SUBSTANCES (COLD, SPAWN)

	Total Kjeldahl Nitrogen
	TKN
	None
	---
	---

	Total Phosphorous
	TP
	None
	---
	---

	CHEMICAL CONSTITUENTS (MUN)

	Alkalinity
	---
	20 mg/L
	Marshack 2008
	EPA AWQC; can affect water treatment

	Aluminum
	Al
	1 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Arsenic
	As
	0.05 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Cadmium
	Cd
	5 µg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Calcium
	Ca
	None
	---
	---

	Chromium (total)
	Cr (total)
	50 µg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Copper
	Cu
	1.3 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Lead
	Pb
	15 µg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Nickel
	Ni
	100 µg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Nitrate
	NO3-N
	4500 µg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Nitrite
	NO2-N
	1000 µg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Nitrate-Nitrite
	NO3-N+NO2-N
	10 mg/L (combined total)
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL (“Blue baby Syndrome”)

	Mercury (total)
	Hg
	2 µg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Potassium
	K
	None
	---
	---

	Selenium
	Se
	50 µg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Primary MCL

	Sodium
	Na
	20  mg/L
	Marshack 2008
	Sodium Restricted Diet2

	DISSOLVED OXYGEN (COLD, SPAWN)

	Dissolved Oxygen
	DO
	> 7 mg/L (minimum)
	CVRWQCB 1998
	Aquatic life protection

	FLOATING MATERIAL (REC-1, REC-2)

	Floating Material
	---
	Narrative Criteria 
	CVRWQCB 1998
	Aesthetics – Absent by visual observation



	Analyte 

(from Table 5.3.1-1)
	Symbol or Abbreviation
	Standard, Criteria or Benchmark 

Value
	Reference
	Notes

	OIL & GREASE (REC-1, REC-2)

	Oil & Grease
	---
	Narrative 
	CVRWQCB 1998
	Aesthetics – Absent by visual observation

	Total Petroleum Hydrocarbons
	TPH
	None
	---
	---

	pH (MUN, COLD, SPAWN, WILD)

	pH
	---
	6.5-8.5
	CVRWQCB 1998
	Aquatic life protection

	SEDIMENT AND SETTLEABLE SOLIDS (REC-2, SPAWN, WILD)

	Sediment
	---
	Narrative 
	CVRWQCB 1998
	See Geology and Soil Resources 

	TASTES & ODOR (MUN)

	Aluminum
	Al
	0.2 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Secondary MCL

	Chloride
	Cl
	250 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Secondary MCL

	Copper
	Cu
	1.0 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Secondary MCL

	Iron
	Fe
	0.3 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Secondary MCL

	Silver
	Ag
	0.1 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Secondary MCL

	Specific conductance
	---
	900 umhos
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Secondary MCL

	Sulfate
	S

 HYPERLINK "http://en.wikipedia.org/wiki/Oxygen" \o "Oxygen" O42−
	250 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Secondary MCL

	Total Dissolved Solids
	TDS
	500 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Secondary MCL

	Zinc
	Zn
	5 mg/L
	CDHS 2005 cited in CVRWQCB 1998
	Title 22 Secondary MCL

	TEMPERATURE (COLD, SPAWN)

	Temperature
	---
	---
	---
	---

	TOXICITY (COLD, SPAWN, MUN)



	Alkalinity
	---
	20 mg/L
	Marshack 2008
	EPA AWQC; buffering capacity

	Aluminum
	Al
	0.087 µg/L
	Marshack 2008
	EPA AWQC; aquatic life protective3

	Ammonia as N

(pH and Temp dependent)
	NH3-N
	24.1 mg/L (CMC);

4.1-5.9 mg/L (CCC)
	EPA 2000
	CTR criteria over 0-20oC assuming pH 7.0

	
	
	5.6 mg/L (CMC);

1.7-2.4 mg/L (CCC)
	EPA 2000
	CTR criteria over 0-20oC assuming pH 8.0

	
	
	0.9 mg/L (CMC);

0.3-0.5 mg/L (CCC)
	EPA 2000
	CTR criteria over 0-20oC assuming pH 9.0

	Arsenic
	As
	0.34 mg/L (CMC);

0.15 mg/L (CCC)
	EPA 2000
	CTR criteria

	Cadmium

(hardness dependent)
	Cd
	0.16 µg/L (CMC);

0.25 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 5 mg/L as CaCO3

	
	
	0.35 µg/L (CMC);

0.41 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 10 mg/L as CaCO3

	
	
	0.54 µg/L (CMC);

0.56 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 15 mg/L as CaCO3

	
	
	0.95 µg/L (CMC);

0.81 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 25 mg/L as CaCO3



	 Analyte 

(from Table 5.3.1-1)
	Symbol or Abbreviation
	Standard, Criteria or Benchmark 

Value
	Reference
	Notes

	TOXICITY (COLD, SPAWN, MUN) (continued)


	
	
	
	
	

	Chloride
	Cl-
	860 mg/L (CMC);

230 mg/L (CCC)
	Marshack 2008
	EPA AWQC; aquatic life protective

	Chromium

(hardness dependent)
	Cr
	47.19 µg/L (CMC);
15.31 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 5 mg/L as CaCO3

	
	
	83.25 µg/L (CMC);

27.0 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 10 mg/L as CaCO3

	
	
	116.03 µg/L (CMC);

37.64  µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 15 mg/L as CaCO3

	
	
	176.31 µg/L (CMC);

57.19 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 25 mg/L as CaCO3

	Copper

(hardness dependent)
	Cu
	0.8 µg/L (CMC);

0.69 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 5 mg/L as CaCO3

	
	
	1.54 µg/L (CMC);

1.25 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 10 mg/L as CaCO3

	
	
	2.25 µg/L (CMC);

1.77 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 15 mg/L as CaCO3

	
	
	3.64 µg/L (CMC);

2.74 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 25 mg/L as CaCO3

	Iron
	Fe
	1 mg/L (CCC)
	Marshack 2008
	EPA AWQC; aquatic life protective

	Mercury (total)
	Hg
	0.050 µg/L
	EPA 2000

40 CFR 131.38
	CTR/Federal Register. 5/18/00

	Nickel

(hardness dependent)
	Ni
	37.2 µg/L (CMC);

4.1 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 5 mg/L as CaCO3

	
	
	66.9 µg/L (CMC);

7.4 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 10 mg/L as CaCO3

	
	
	94.3 µg/L (CMC);

10.5 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 15 mg/L as CaCO3

	
	
	145.2 µg/L (CMC);

16.1 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 25 mg/L as CaCO3

	Selenium (total)
	Se
	20 µg/L (CMC)

5 µg/L (CCC)
	Marshack 2008
	EPA AWQC; aquatic life protective

	Silver

(hardness dependent)
	Ag
	0.02 µg/L (CMC)

Instantaneous
	EPA 2000
	CTR for dissolved sample assuming hardness of 5 mg/L as CaCO3

	
	
	0.07 µg/L (CMC)

instantaneous
	EPA 2000
	CTR for dissolved sample assuming hardness of 10 mg/L as CaCO3

	
	
	0.13 µg/L (CMC)

instantaneous
	EPA 2000
	CTR for dissolved sample assuming hardness of 15 mg/L as CaCO3

	
	
	0.32 µg/L (CMC)

instantaneous
	EPA 2000
	CTR for dissolved sample assuming hardness of 25 mg/L as CaCO3


	 Analyte 

(from Table 5.3.1-1)
	Symbol or Abbreviation
	Standard, Criteria or Benchmark 

Value
	Reference
	Notes

	Lead

(hardness dependent)
	Pb
	2 µg/L (CMC)
0.086 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 5 mg/L as CaCO3

	
	
	5 µg/L (CMC)
0.191 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 10 mg/L as CaCO3

	
	
	8 µg/L (CMC)
0.303 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 15 mg/L as CaCO3

	
	
	14 µg/L (CMC)
0.54 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 25 mg/L as CaCO3

	Specific conductance
	---
	150 µmhos
	CVRWQCB 1998
	Aquatic Life Protection

	Zinc

(hardness dependent)
	Zn
	9.26 µg/L (CMC)

9.33 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 5 mg/L as CaCO3

	
	
	16.66 µg/L (CMC)

16.79 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 10 mg/L as CaCO3

	
	
	23.48 µg/L (CMC)

23.68 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 15 mg/L as CaCO3

	
	
	36.20 µg/L (CMC)

36.50 µg/L (CCC)
	EPA 2000
	CTR for dissolved sample assuming hardness of 25 mg/L as CaCO3

	TURBIDITY (COLD, SPAWN, WILD, MUN)

	Turbidity
	NTU
	increase < 1 NTU for 1)5 NTU background;

increase < 20% for 5-50 NTU background
	CVRWQCB 1998
	Aesthetics, disinfection, egg incubation


1 Note a chemical may be listed under more than one beneficial use.

2 Guidance level to protect those individuals restricted to a total sodium intake of 500 mg/day (Marshack 2008).

 3 Benchmark is likely overly protective, as EPA is aware of field data indicating that many high quality waters in the U.S. contain more than 0.087 µg aluminum/L, when either total recoverable or dissolved is measured (Marshack 2008)

Key:

AWQC = Ambient Water Quality Criteria

EPA = Environmental Protection Agency

CaCO3 = Calcium carbonate

CMC = Criterion Maximum Concentration (1-hour acute exposure) for aquatic toxicity as defined by EPA (2000)

CCC = Criterion Continuous Concentration (4-day chronic exposure) for aquatic toxicity as defined by EPA (2000)

CTR = California Toxics Rule

MCL = Maximum Contaminant Level
µmhos = micro-ohms

µg/L = micrograms per liter

mg/L = milligrams per liter

MPN = Most Probable Number

NTU = Nephelometric turbidity units

SM = Standard Method

su = standard unit

The CVRWQCB has adopted, by reference, California Title 22 maximum contaminant levels (MCL) for drinking water as Basin Plan objectives (CVRWQCB 1998), with the exception that more stringent criteria may apply as necessary for protection of specific beneficial uses.  Hence, these values are adopted as the drinking water standard herein.  It should be noted, however, that chemical concentrations that were originally intended to apply to finished tap water, rather than to untreated sources of drinking water, will be applied to the untreated reservoir or river water.  

For water quality objectives related to aquatic toxicity for ammonia and trace metals, the CTR (EPA 2000) is the preferred benchmark source.  Part 40 CFR § 131.38 established Criterion Maximum Concentrations (CMC) as the highest concentrations to which aquatic life can be exposed for a short period
 [one hour] without deleterious effects and Criterion Continuous Concentrations (CCC) as the highest concentration to which aquatic life can be exposed for an extended period of time (4 days) without deleterious effects.  When single grab samples are collected, as will be the case for this study, it is assumed that constituent concentrations are representative of the continuous ambient condition, and CCC values are therefore used as the appropriate criteria to compare against environmental sample results.  
Because of differences in acute and chronic toxicity to aquatic organisms of many elements and compounds, as well as variations with ambient water quality such as pH or hardness, several entries in Table 5.3.6-1have multiple benchmarks to illustrate this range.  The benchmarks for seven of the metals addressed in this study plan (cadmium, chromium, copper, lead, nickel, silver, and zinc) are reported for dissolved metals from the CTR (EPA 2000).  In Table 5.3.6-1, benchmarks for these metals are calculated in 5 mg/L increments of hardness since the aquatic toxicity of these metals reportedly increases as hardness decreases.  Similarly, the CMC and CCC levels for ammonia are a function of both pH and temperature and are presented for the temperature range of 0º-20ºC in pH increments of 1.0 su in Table 5.3.6-1.

5.3.7

Step 7 – Consult with Operations Staff
If a water quality result suggests Basin Plan objectives are not being met, Licensee will consult with Project Operations staff to identify Project O&M activities that typically occur in the area with the potential to adversely-affect the parameter.  
5.3.8

Collaboratively Agree on New Focused Second Year Study

Licensee will review the results of the study with Relicenisng Participants in September 2011.  If Licensee and Relicensing Participants collaboratively determine that a focused second year  study is necessary, Licensee and Relicensing Participants will collaboratively develop a new study proposal an dfile it with FERC for FERC’s approval.  Licensee will perform the study approved by FERC.  The criteria to be used regarding the need for a focused second year study will be when: 1) a constituent is found at an elevated level, where elevated is defined as a level outside the standards, criteria and benchmarks provided in Table 5.3.6-1, and 2) the  Licensee and Relicesning Participants collaboratively agree the elevated level is a result of the Project. 
5.3.9

Step 9 – Prepare Report
At the conclusion of the study, YCWA will prepare a report that includes the following sections: 1) Study Goals and Objectives; 2) Methods; 3) Results; 4) Discussion; and 5) Description of Variances from the Federal Energry Regulatory Commission (FERC)-approved study proposal, if any.  The report will include in Microsoft Excel format on compact disc (CD) a complete water quality dataset.  Also, the report will include a table that will show for each parameter measured the results of the sampling sorted by sampling location.  Data that that are greater than the benchmarks provided in Table 5.3.6-1 will be highlighted.  The table will be appended to report and available in its Microsoft Excel format. 

6.0

Study-Specific Consultation

This study requires one study-specific consultation:

Licensee will review the results of the study with Relicenisng Participants in September 2011, and if Licensee and Relicensing Participants collaboratively determine that a focused second year study is necessary, Licensee and Relicensing Participants will collaboratively develop a new study proposal and file it with FERC for FERC’s approval (Step 8).   
7.0
Schedule 

Licensee anticipates the schedule to complete the study as follows assuming the Preliminary Application Document (PAD) is filed on November 1, 2010 and FERC issues its Study Determination by October 4, 2011:

Select Parameters and Sampling Locations (Steps 1 & 2)
October 2011
Collect Data (Step 3)
May – July 2011
Lab Analysis and QA/QC Review (Steps 4 & 5)
August 2011
Basin Plan Consistency and Operations Staff Consultation (Steps 6 & 7)
September 2011
Collaborative Review of Data and Need for Focused Study…………………….Sepotember 2011
Prepare Report (Step 9)
October 2012 

[In the June 10 relicensing meeting, CDFG suggested that the schedule be expanded to include sampling of summer low flow period and fall sampling.  Licensee believes that based on existing information sampling in those periods is not warranted at this time.  Licensee 6/13]
8.0

Consistency of Methodology with Generally Accepted Scientific Practices

The study methods discussed above are consistent with the study methods followed in several other relicensings.  The methods presented in this study plan also are consistent with those used in recent relicensings in California.
9.0

Level of Effort and Cost
[Relicensing Participants – Licensee will include a cost range estimate for this study in its Proposed Study Plan.  Licensee]
10.0

References Cited

California Department of Health Services (CDHS). 2005. California Code of Regulations, Title 22, Division 4, Chapter 15, Domestic Water Quality and Monitoring. Website accessed 03/18/08 

Central Valley Regional Water Quality Control Board (CVRWQCB).  2009.  Clean Water Act Sections 305(b) and 303(d) Integrated Report for the Central Valley Region.

http://www.swrcb.ca.gov/centralvalley/water_issues/tmdl/impaired_waters_list/303d_list.shtml 

_____
2002.  Amendment to the Water Quality Control Plan for the Sacramento River and San Joaquin River Basins for Bacteria.  Staff Report and Functional Equivalent Document.  Final Report.  State of California Regional Water Quality Control Board, Central Valley Region.  R5-2002-0150.  September.
_____
1998.  Basin Plan.  Fourth Edition, The Sacramento River Basin and the San Joaquin River Basin.  State of California Regional Water Quality Control Board, Central Valley Region.  Revised in October 2007 with the Approved Amendments
Department of Water Resources (DWR). 2004. Project Effects on Water Quality Designated Beneficial Uses for Surface Waters.  Study Plan W1. Oroville Facilities Relicensing.  FERC License P-2100.  State of California.  The Resources Agency.  Draft Final Report. September. http://www.water.ca.gov/orovillerelicensing/wg-reports_EWG.cfm 
HDR|SWRI 2007.  Final Environmental Impact Report/Environmental Impact Statement for the Proposed Lower Yuba River Accord.  Prepared for the Department of Water Resources, Bureau of Reclamation and Yuba County Water Agency.   Chapter 9:  Surface Water Quality.  State Clearinghouse (SCH) No: 2005062111.  October.
  http://www.usbr.gov/mp/nepa/nepa_projdetails.cfm?Project_ID=2549 
Larry Walker and Associates (LWA).  2000. Sacramento River Watershed Program Annual Monitoring Report: 1998–1999. June 13.  http://www.sacriver.org/monitoring/reports.php 
Marshack, J. 2008. A compilation of water quality goals. California Regional Water Quality Control Board, Central Valley Region.
http://www.swrcb.ca.gov/centralvalley/water_issues/water_quality_standards_limits/water_quality_goals/index.html 

Office of Environmental Health Hazard Assessment (OEHHA).  2009 Update of California Sport Fish Advisories.  California Environmental Protection Agency.  URL: <www.oehha.ca.gov/fish/so_cal/index.html>
____. 
2003.  Draft Report and Health Advisory for Fish from Selected Water Bodies in the Bear River, South Yuba River, and Deer Creek Watersheds (Nevada, Placer, and Yuba Counties); a fact sheet by Office of Environmental Health Hazard Assessment – California Environmental Protection Agency.  February.  URL: <www.oehha.ca.gov/ public_info/facts/fishfacts.html>

South Yuba River Citizen’s League (SYRCL).  unpublished data.  2009.  Yuba River Water Quality Monitoring.

_____.
Website.  Available online: <http://www.syrcl.org/issues/Merc&Ars/merc0501.html>.  Accessed May 2007.

State Water Resources Control Board. 2010.  Adoption of 2010 303(d) List [Proper citation will be provided when reference is publically available.  CCL 6/14]
_____. 2006.  2006 Clean Water Act Section 303(d) List of Water Quality Limited Segments.  Approved by the SWRCB: June 28, 2007.
 http://www.waterboards.ca.gov/water_issues/programs/tmdl/303d_lists2006_epa.shtml 
United States Environmental Protection Agency (EPA).  2003. Bacterial Water Quality Standards for Recreational Waters (Freshwater and Marine Waters). Office of Water Report No. EPA-823-R-03-008. June. 


http://www.epa.gov/waterscience/beaches/local/sum2.html
_____
2000.  Water Quality Standards; Establishment of Numeric Criteria for Priority Toxic Pollutants for the State of California, 40 CFR 131.  May 18.
_____
1995. Method 1669: Sampling ambient water for trace metals at United States Environmental Protection Agency water quality criteria levels. EPA 821-R-95-034, United States Environmental Protection Agency, Washington, DC.
Yuba County Water Agency (YCWA).  2009.  Yuba River Development Project relicensing Preliminary Information Package.  <http://www.ycwa-relicensing.com/default.aspx>
�	For the purposes of this document, the Project Area is defined as the area within the Federal Energy Regulatory Commission (FERC) existing Project Boundary and the land immediately surrounding the FERC Project Boundary (i.e., within about  0.25 mile of the FERC Project Boundary) and includes Project-affected reaches between facilities and downstream to the next major water controlling feature or structure.


� 	Results with a “J” qualifier are results where the chemical was detected, but there is uncertainty in the quantity.  The quantity is above the method detection limit, but below the reporting limit.


� 	Note a chemical may be listed under more than one beneficial use.


� Based on extended sample collection and one-hour averaging.





Water Quality
Pre-Application Document
Draft – 6/10/10
Page 10 of 22
©2010, Yuba County Water Agency
Draft – 6/10/10
Pre-Application Document
Water Quality

©2010, Yuba County Water Agency
Page 1 of 23

